## ChangeLog
Version | Modification
20120314 | Initial release
20130502 | Add Requirement coverage counter to help user to define the expected coverage of the Requirement document Add verification of < and > characters in TestCase Name Add auto replacement of double quote character in TestCase Name Set importance to Medium for testCases if information is not filled by user Add verification of < and > characters in TestCase Step & Results
20130530 | Bug correction in Custom Field generation The way to generate the XML has been reviewed Add Comments on each column header to explain which values can be used
20140402 | Add the ability to save TestCases ordered in a tree Add the export log function when something is wrong
20140415 | Add the ability to define the 'estimated execution duration' XML tag Excel file checks the text length to alert user when max length is reached. If max is reached, each cell is displayed with red background TestSuite Name : 75 chars TesctCase Name : 100 chars
20140724 | Modify the type of custom fields in the XML generation : CDATA is now used (works but is not documented by TestLink).
20140819 | Add the ability to import a XML file exported from TestLink to modify Testcase content TC# is renamed "External ID" and is more specific Bug correction : values in a hidden column are now used during XML generation
20141214 | Better TestLink Import Functions capabilities : you can use & and < char in all columns except A and D
20150331 | Bug correction : Unable to import complex tree from TestLink (more than sub-sub-sub tree (level 4). Now the limit is on level 10. Dim TestSuiteName(0 To 10) As String Dim TestSuiteDetails(0 To 10) As String
20150817 | Bug correction : Excel advanced filter doesn't provide a good duplicate filter in requirement counter page
20151009 | Bug correction : replace FrenchChar in testcase name BEFORE check if forbidden char is present
20160219 | Bug correction : Import TestCases is wrong when custom_fields are used
20160311 | Add the ability to import and export Status of each testcase Add the ability to import Custom Fields linked to a testcase from XML file Add the ability to import and export keywords linked to a testcase
20160331 | Add GUI to display Import progression
20161015 | Fix Error Detection problem in TestCases content
20170424 | Update defaut values for displayed and hidden cells
20180517 | Add Attachments Capabilities

## TestCases
Test Suite |  | Test Case | [7 empty] | Attachments | Steps |  |  | Coverage |  | Time Management
Name | Details |  | Name | Summary | PreConditions | Status | ExecutionType | Importance | Keywords | Number of Attachments | Step | Expected Result | StepExec Type | Spec Title | Document ID | Estimated exec. Duration
Android | Mobile phone test
Set up of Master data | uploading of master data (offline)
|  | 130 | on launch master data upload | upload the app with basic data needed to run the app | app is installated but not started yet, internet is available Enrolment Officer ID was created on the web application before the master data was downloaded on the IMIS Policy App | 1 | 1 | 2 |  |  | Open the Enrollment app: IMIS Policy | enrollment app is open, and you are asked if you would like to download the master data | 1
[11 empty] | Select Yes to downloading the master data | Master data is downloaded and prompt comes to enter your Enrolment Officer ID | 1
[11 empty] | Enter valid enrolment officer ID | You sucessfully login to the app and reach the Home page | 1
|  | 131 | update the master data | in case changes are made to the web application (eg. New product or enrolment officer created) there is a need to update the master data | app is installated, has been used to undertake transactions already, internet is available | 1 | 1 | 2 |  |  | Open the Enrollment app: IMIS Policy | enrollment app is open and takes you to Home page | 1
[11 empty] | go on the sync menu | The Sync page opens with all upload/download options | 1
[11 empty] | Select Download Master Data | Enter valid login credentials of Enrolment Officer to get a message master data was successfully downloaded | 1
[11 empty] | Select Ok | You will return to Sync page options | 1
|  | 132 | on launch master data upload in offline mode | upload the app with basic data needed to run the app without internet | app is installated but not started yet, internet is not available Enrolment Officer ID was created on the web application before the master data was downloaded on the IMIS Policy App | 1 | 1 | 2 |  |  | Login to web application with admin credentials | You willcome to home page of web application | 1
[11 empty] | Go to Tools and then to Extracts page | You will see all download and upload options through Extracts | 1
[11 empty] | Click on Download Master Data | You will see a file download prompt | 1
[11 empty] | Download and Save the file on your computer | The file is downloaded successfully | 1
[11 empty] | Transfer the downloaded master data file from your computer to the IMIS/Database -> Master data folder on your phone | The file is saved in the IMIS folder on the phone | 1
[11 empty] | Open the Enrollment app: IMIS Policy | enrollment app is open, and you are asked if you would like to download the master data | 1
[11 empty] | Select Yes to downloading the master data | Internet is not available and prompt will ask you whether you would like to upload from .txt file | 1
[11 empty] | Select Yes and then navigate to the folder where you downloaded the master data file and select it | Master data will be uploaded and the Policy App will launch asking for Enrolment Officer ID | 1
[11 empty] | Enter valid enrolment officer ID | You sucessfully login to the app and reach the Home page | 1
|  | 133 | update the master data in offline mode | in case changes are made to the web application (eg. New product or enrolment officer created) there is a need to update the master data even if internet is not available | app is installated, has been used to undertake transactions already, internet is not available | 1 | 1 | 2 |  |  | Login to web application with admin credentials | You willcome to home page of web application | 1
[11 empty] | Go to Tools and then to Extracts page | You will see all download and upload options through Extracts | 1
[11 empty] | Click on Download Master Data | You will see a file download prompt | 1
[11 empty] | Download and Save the file on your computer | The file is downloaded successfully | 1
[11 empty] | Transfer the downloaded master data file from your computer to the IMIS/Database -> Master data folder on your phone to replace the old file | The file is saved in the IMIS folder on the phone | 1
[11 empty] | Open the Enrollment app: IMIS Policy | enrollment app is open and takes you to Home page where new master data file is referred to | 1
[11 empty] | go on the sync menu | The Sync page opens with all upload/download options | 1
[11 empty] | Select Download Master Data | You will gert a prompt that Internet connection is not available and whether you would like to import .txt file from Database folder. | 1
[11 empty] | Select Yes and navigate to folder where you saved the file and select the file | You will get a succefully downloaded Master data message and return to the Sync page | 1
Android | Mobile phone test
Enquire | testing of the insuree search funcitons
|  | 134 | enquire valid insuree | find out the insuree status | insuree in IMIS and covered | 1 | 1 | 2 |  |  | Open the Enrollment app: IMIS Policy | enrollment app is open, Enrollment officer ID is asked after the master data download | 1
[11 empty] | go on the enquire menu | the login is required | 1
[11 empty] | enter the Insuree ID of the insuree and search | the application should show the insuree situation: covered | 1
|  | 135 | enquire none existing insuree | find out the insuree status (insuree ID not known) | insuree ID not in IMIS | 1 | 1 | 2 |  |  | Open the Enrollment app: IMIS Policy | enrollment app is open, | 1
[11 empty] | go on the enquire menu | the login is required | 1
[11 empty] | enter the Insuree ID of the insuree and search | the application should show an error message saying than insuree ID doesn't exist | 1
|  | 136 | enquire invalid insuree | find out the insuree status | insuree in IMIS but not covered | 1 | 1 | 2 |  |  | Open the Enrollment app: IMIS Policy | enrollment app is open, | 1
[11 empty] | go on the enquire menu | the login is required | 1
[11 empty] | enter the Insuree ID of the insuree and search | the application should show the insuree situation: not covered | 1
Android | Mobile phone test
enrollment | testing of the enrollment funcitons
|  | 153 | add familly2 | adding a new familly, its policy, its payment and contributions | familly and its member not in IMIS | 1 | 1 | 2 |  |  | Open the Enrollment app: IMIS Policy | enrollment app is open, Enrollment office ID is asked after the master data download | 1
[11 empty] | open Acquire | acquire page is opened | 1
[11 empty] | enter the Insuree ID of the insuree, take the photo and submit | message saying that the photo is saved should be displayed | 1
[11 empty] | go back to the main menu | main menu is displayed | 1
[11 empty] | Go on enrollment | enrollment page opens | 1
[11 empty] | Click on the plus (top left) | add familly page open | 1
[11 empty] | fill family data and next | Familly detail screen should be displayed | 1
[11 empty] | fill data for head of household and save | After entering HH ID Photo should apprear (matching insurance ID introduce in Acquire) and after saving data screen comes back to individual list | 1
[11 empty] | Select the familly and click on policies (top right) | policy page shows | 1
[11 empty] | Click on the plus (top left) | Policy detail page shows | 1
[11 empty] | fill policy data and save | Policy shows in policy list with Status Idle | 1
[11 empty] | click 3 dots on the right of the policy line and click on payment | the contribution/ payment page shows | 1
[11 empty] | enter contribution details and Save | payment entered is registered and screen comes back to listed payments | 1
[11 empty] | go back to policy | the policy is displayed as active | 1
[11 empty] | Go to menu and open Sync | The Sync page opens with all upload/download options | 1
[11 empty] | Select upload enrolments | Page to enter Login name and Password open up | 1
[11 empty] | Enter valid credentials of EO and Login | After successful login screen moves back to Sync screen | 1
[11 empty] | Select Upload Enrolments | The family is uploaded and you get a message that Family was uploaded successfully where you click OK and come back to sync screen | 1
|  | 137 | add familly | adding a new familly, its policy, its payment and contributions |  | 1 | 1 | 2 |  |  | Open the Enrollment app: IMIS Policy | enrollment app is open, Enrollment office ID is asked after the master data download | 1
[11 empty] | open Acquire | acquire page is opened | 1
[11 empty] | enter the Insuree ID of the insuree, take the photo and submit | message saying that the photo is saved should be displayed | 1
[11 empty] | go back to the main menu | main menu is displayed | 1
[11 empty] | Go on enrollment | enrollment page opens | 1
[11 empty] | Click on the plus (top left) | add familly page open | 1
[11 empty] | fill family data and next | Familly detail screen should be displayed | 1
[11 empty] | fill data for head of household and save | After entering HH ID Photo should apprear (matching insurance ID introduce in Acquire) and after saving data screen comes back to individual list | 1
[11 empty] | Select the familly and click on policies (top right) | policy page shows | 1
[11 empty] | Click on the plus (top left) | Policy detail page shows | 1
[11 empty] | fill policy data and save | Policy shows in policy list with Status Idle | 1
[11 empty] | click 3 dots on the right of the policy line and click on payment | the contribution/ payment page shows | 1
[11 empty] | enter contribution details and Save | payment entered is registered and screen comes back to listed payments | 1
[11 empty] | go back to policy | the policy is displayed as active | 1
[11 empty] | Go to menu and open Sync | The Sync page opens with all upload/download options | 1
[11 empty] | Select upload enrolments | Page to enter Login name and Password open up | 1
[11 empty] | Enter valid credentials of EO and Login | After successful login screen moves back to Sync screen | 1
[11 empty] | Select Upload Enrolments | The family is uploaded and you get a message that Family was uploaded successfully where you click OK and come back to sync screen | 1
|  | 138 | add familly (when offline) | adding a new familly, its policy, its payment and contributions when offline | familly and its member not in IMIS | 1 | 1 | 2 |  |  | Open the Enrollment app: IMIS Policy | enrollment app is open, Enrollment office ID is asked after the master data download | 1
[11 empty] | open Acquire | acquire page is opened | 1
[11 empty] | enter the Insuree ID of the insuree, take the photo and submit | message saying that the photo is saved should be displayed | 1
[11 empty] | go back to the main menu | main menu is displayed | 1
[11 empty] | Go on enrollment | enrollment page opens | 1
[11 empty] | Click on the plus (top left) | add familly page open | 1
[11 empty] | fill family data and next | Familly detail screen should be displayed | 1
[11 empty] | fill data for head of household and save | After entering HH ID Photo should apprear (matching insurance ID introduce in Acquire) and after saving data screen comes back to individual list | 1
[11 empty] | Select the familly and click on policies (top right) | policy page shows | 1
[11 empty] | Click on the plus (top left) | Policy detail page shows | 1
[11 empty] | fill policy data and save | Policy shows in policy list with Status Idle | 1
[11 empty] | click 3 dots on the right of the policy line and click on payment | the contribution/ payment page shows | 1
[11 empty] | enter contribution details and Save | payment entered is registered and screen comes back to listed payments | 1
[11 empty] | go back to policy | the policy is displayed as active | 1
[11 empty] | Go to menu and open Sync | The Sync page opens with all upload options | 1
[11 empty] | Select Create Enrolments XML | You get a message that XML has been created successfully | 1
[11 empty] | Go to folder IMIS -> Enrolment on the phone | You will see a .rar file with the EO code, date and time of creation in the name of the file | 1
[11 empty] | Copy this file and transfer to a computer and go to web application | Web application login page | 1
[11 empty] | Login using Admin credentials to be able to access the Extracts page under Tools | You will get the display page for Extracts with all upload and download options | 1
[11 empty] | Select Browse under Upload Enrolment and select the enrolment extract file saved on your computer | You get a success message with a summary of enrolments uploaded | 1
|  | 139 | modify a member or family related data | modify a non existent member | insuree ID not in IMIS | 1 | 1 | 2 |  |  | Open the Enrollment app: IMIS Policy | enrollment app is open, Enrollment office ID is asked after the master data download | 1
[11 empty] | open Modify Family | If not logged in Login page appears | 1
[11 empty] | Add login credentials | Modify page is opened | 1
[11 empty] | Enter indiviudals ID and click search whose family data has to be retrieved for modification | Message is given that Insuree number not found | 1
|  | 140 | modify a member or family related data | modify an exising member in the family | insuree ID is existing in IMIS | 1 | 1 | 2 |  |  | Open the Enrollment app: IMIS Policy | enrollment app is open, Enrollment office ID is asked after the master data download | 1
[11 empty] | open Modify Family | If not logged in Login page appears | 1
[11 empty] | Add login credentials | Modify page is opened | 1
[11 empty] | Enter indiviudals ID and click search whose family data has to be retrieved for modification | The Enrolment screen of the app is opened and the family of the ID entered shows in list of families | 1
[11 empty] | Select the family to modify by clicking on dots on right side and selecting Edit | Family is opened with all family members listed | 1
[11 empty] | Select the individual in the family whose details have to be modified by clicking on dots on right side and selecting Edit | Screen with individuals details opens | 1
[11 empty] | Modify details of the individual where needed and click on save | The modifications are saved and you come back to screen with family members listed | 1
[11 empty] | Select the familly and click on policies (top right) | policy page shows | 1
[11 empty] | Click on the plus (top left) | Policy detail page shows | 1
[11 empty] | fill policy data and save | Policy shows in policy list with Status Idle | 1
[11 empty] | click 3 dots on the right of the policy line and click on payment | the contribution/ payment page shows | 1
[11 empty] | enter contribution details and Save | payment entered is registered and screen comes back to listed payments | 1
[11 empty] | go back to policy | the policy is displayed as active | 1
[11 empty] | Go to menu and open Sync | The Sync page opens with all upload options | 1
[11 empty] | Select upload enrolments | Page to enter Login name and Password open up | 1
[11 empty] | Enter valid credentials of EO and Login | After successful login screen moves back to Sync screen | 1
[11 empty] | Select Upload Enrolments | The family is uploaded and you get a message that Family was uploaded successfully where you click OK and come back to sync screen | 1
|  | 141 | Delete an existing member of a family (except household head - done through web app) | Delete an existing family member | insuree ID of a family member is existing in IMIS | 1 | 1 | 2 |  |  | Open the Enrollment app: IMIS Policy | enrollment app is open, Enrollment office ID is asked after the master data download | 1
[11 empty] | open Modify Family | If not logged in Login page appears | 1
[11 empty] | Add login credentials | Modify page is opened | 1
[11 empty] | Enter indiviudals ID and click search whose family data has to be retrieved for modification | The Enrolment screen of the app is opened and the family of the ID entered shows in list of families | 1
[11 empty] | Select the family to modify by clicking on dots on right side and selecting Edit | Family is opened with all family members listed | 1
[11 empty] | Select the individual in the family whose has to be deleted by selecting the three dots on the right side of the name of the individual | Individual is deleted and you come back to the screen with the remeining members of the family listed | 1
[11 empty] | Select the familly and click on policies (top right) | policy page shows | 1
[11 empty] | Click on the plus (top left) | Policy detail page shows | 1
[11 empty] | fill policy data and save | Policy shows in policy list with Status Idle | 1
[11 empty] | click 3 dots on the right of the policy line and click on payment | the contribution/ payment page shows | 1
[11 empty] | enter contribution details and Save | payment entered is registered and screen comes back to listed payments | 1
[11 empty] | go back to policy | the policy is displayed as active | 1
[11 empty] | Go to menu and open Sync | The Sync page opens with all upload options | 1
[11 empty] | Select upload enrolments | Page to enter Login name and Password open up | 1
[11 empty] | Enter valid credentials of EO and Login | After successful login screen moves back to Sync screen | 1
[11 empty] | Select Upload Enrolments | The family is uploaded and you get a message that Family was uploaded successfully where you click OK and come back to sync screen | 1
|  | 142 | upload a modified family in offline mode | after any modification is made to a family the changes are uploaded to the web application in a situation without internet connectivity | family to be modified was already downloaded in the app when internet was available | 1 | 1 | 2 |  |  | Open the Enrollment app: IMIS Policy | enrollment app is open, Enrollment office ID is asked after the master data download | 1
[11 empty] | open Enrolment page | If not logged in Login page appears | 1
[11 empty] | Add login credentials | Enrolment page is opened with the list of families currently on the phone including the downloaded family that is to be modified | 1
[11 empty] | Select the family to be modified | Family page opens listing all members of the family | 1
[11 empty] | Make changes to respective section and save the family | Save is successful | 1
[11 empty] | Go to menu and open Sync | The Sync page opens with all upload options | 1
[11 empty] | Select Create Enrolments XML | You get a message that XML has been created successfully | 1
[11 empty] | Go to folder IMIS -> Enrolment on the phone | You will see a .rar file with the EO code, date and time of creation in the name of the file | 1
[11 empty] | Copy this file and transfer to a computer and go to web application | Web application login page | 1
[11 empty] | Login using Admin credentials to be able to access the Extracts page under Tools | You will get the display page for Extracts with all upload and download options | 1
[11 empty] | Select Browse under Upload Enrolment and select the enrolment extract file saved on your computer | You get a success message with a summary of enrolments uploaded | 1
|  | 143 | Add a new member to a family | Add a member to a family | insuree ID of a family member is existing in IMIS | 1 | 1 | 2 |  |  | Open the Enrollment app: IMIS Policy | enrollment app is open, Enrollment office ID is asked after the master data download | 1
[11 empty] | open Modify Family | If not logged in Login page appears | 1
[11 empty] | Add login credentials | Modify page is opened | 1
[11 empty] | Enter indiviudals ID and click search whose family data has to be retrieved for modification | The Enrolment screen of the app is opened and the family of the ID entered shows in list of families | 1
[11 empty] | Select the family to modify by clicking on dots on right side and selecting Edit | Family is opened with all family members listed | 1
[11 empty] | Add an indvidual by clicking on top left plus sign | Page opens where details of individual can be added | 1
[11 empty] | Add details of the individual to be added and then Save | Individual is added to he family and screen returns to list of all individuals in the family | 1
[11 empty] | Select the familly and click on policies (top right) | policy page shows | 1
[11 empty] | Click on the plus (top left) | Policy detail page shows | 1
[11 empty] | fill policy data and save | Policy shows in policy list with Status Idle | 1
[11 empty] | click 3 dots on the right of the policy line and click on payment | the contribution/ payment page shows | 1
[11 empty] | enter contribution details and Save | payment entered is registered and screen comes back to listed payments | 1
[11 empty] | go back to policy | the policy is displayed as active | 1
[11 empty] | Go to menu and open Sync | The Sync page opens with all upload options | 1
[11 empty] | Select upload enrolments | Page to enter Login name and Password open up | 1
[11 empty] | Enter valid credentials of EO and Login | After successful login screen moves back to Sync screen | 1
[11 empty] | Select Upload Enrolments | The family is uploaded and you get a message that Family was uploaded successfully where you click OK and come back to sync screen | 1
Android | Mobile phone test
Renewal | testing renewal of policy of an enrolled family
|  | 144 | Renewing a person from a server sent list | Renew a family in an existing renewal list | insuree ID of the head of household is in the existing list of renewals downloaded from the server | 1 | 1 | 2 |  |  | Open the Enrollment app: IMIS Policy | enrollment app is open, Enrollment office ID is asked after the master data download | 1
[11 empty] | open Renewal | Renewal screen appears with a list of policies to be renewed and one field for Unlisted Renewal Policies | 1
[11 empty] | Swipe down on the screen to refresh this list from the server | Policies requiring renewals get listed or a message comes indicating No renewals found | 1
[11 empty] | Select the Policy to renew | Screen opens up where contribution details can be entered | 1
[11 empty] | Enter contribution details and Save | Screen comes back to the Renewals page with the remaining list of policies to be renewed | 1
[11 empty] | Go back to menu and open Sync | The Sync page opens with all upload options | 1
[11 empty] | Select upload renewals | Page to enter Login name and Password open up | 1
[11 empty] | Enter valid credentials of EO and Login | After successful login screen moves back to Sync screen | 1
[11 empty] | Select Upload Renewals | The renewal is uploaded and you get a message that Upload Successful where you click OK and come back to sync screen | 1
|  | 145 | Indicating a family wants to discontinue their policy instead of renewing | Discontinue a family policy from an existing renewal list | insuree ID of the head of household is in the existing list of renewals downloaded from the server | 1 | 1 | 2 |  |  | Open the Enrollment app: IMIS Policy | enrollment app is open, Enrollment office ID is asked after the master data download | 1
[11 empty] | open Renewal | Renewal screen appears with a list of policies to be renewed and one field for Unlisted Renewal Policies | 1
[11 empty] | Swipe down on the screen to refresh this list from the server | Policies requiring renewals get listed or a message comes indicating No renewals found | 1
[11 empty] | Select the Policy to renew | Screen opens up where contribution details can be entered | 1
[11 empty] | Select Discontinue the policy and Save | Screen comes back to the Renewals page with the remaining list of policies to be renewed | 1
[11 empty] | Go back to menu and open Sync | The Sync page opens with all upload options | 1
[11 empty] | Select upload renewals | Page to enter Login name and Password open up | 1
[11 empty] | Enter valid credentials of EO and Login | After successful login screen moves back to Sync screen | 1
[11 empty] | Select Upload Renewals | The renewal is uploaded and you get a message that Upload Successful where you click OK and come back to sync screen | 1
|  | 146 | Renewing a person from outside the list sent by the server | Renew a family not listed in an existing renewal list | insuree ID of the head of household to be renewed is not in the existing list of renewals downloaded from the server | 1 | 1 | 2 |  |  | Open the Enrollment app: IMIS Policy | enrollment app is open, Enrollment office ID is asked after the master data download | 1
[11 empty] | open Renewal | Renewal screen appears with a list of policies to be renewed and one field for Unlisted Renewal Policies | 1
[11 empty] | Select the Unlisted Renewal Policies option | Screen opens up where contribution details can be entered but also an insuree number | 1
[11 empty] | Enter insuree number, product to be renewed, contribution details and Save | A mesage comes indicating File is saved on external storage | 1
[11 empty] | Go back to menu and open Sync | The Sync page opens with all upload options | 1
[11 empty] | Select upload renewals | Page to enter Login name and Password open up | 1
[11 empty] | Enter valid credentials of EO and Login | After successful login screen moves back to Sync screen | 1
[11 empty] | Select Upload Renewals | The renewal is uploaded and you get a message that Upload Successful where you click OK and come back to sync screen | 1
|  | 147 | Renew a policy in offline mode | Renew a family in an existing renewal list when app have no internet | insuree ID of the head of household is in the existing list of renewals downloaded from the server No internet is available | 1 | 1 | 2 |  |  | Login to web application using admin credentials | Home page of web application | 1
[11 empty] | Open Extracts page under Tools | Extract page on the web application with all upload and download options | 1
[11 empty] | Under Download Master Data enter the respective Enrolment office code for whom the list of renewals needs to be generated for; and select Download Renewals | You will be provided a message to save a file with the name including the eonrolment officer code | 1
[11 empty] | Save the file on the computer and transfer the file to the phone in the IMIS folder | The file with .rar extension and enrolment officer code is visible in the IMIS folder | 1
[11 empty] | Open the Enrollment app: IMIS Policy | enrollment app is open, Enrollment office ID is asked after the master data download | 1
[11 empty] | open Renewal | Renewal screen appears with a list of policies to be renewed and one field for Unlisted Renewal Policies | 1
[11 empty] | Swipe down on the screen to refresh this list | You will get a message that No internet is available and whether you would like to import .txt file from the IMIS folder | 1
[11 empty] | Select Yes and navigate to folder on the phone where you saved the file and select it | Renewal screen appears with a list of policies to be renewed and one field for Unlisted Renewal Policies | 1
[11 empty] | Select the Policy to renew | Screen opens up where contribution details can be entered | 1
[11 empty] | Enter contribution details and Save | Screen comes back to the Renewals page with the remaining list of policies to be renewed | 1
[11 empty] | Go to menu and open Sync | The Sync page opens with all upload options | 1
[11 empty] | Select Create Renewals XML | You get a message that XML has been created successfully | 1
[11 empty] | Go to folder IMIS -> Enrolment on the phone | You will see a .rar file with the Mater renewal in the name | 1
[11 empty] | Copy this file and transfer to a computer and go to web application | Web application login page | 1
[11 empty] | Login using Admin credentials to be able to access the Extracts page under Tools | You will get the display page for Extracts with all upload and download options | 1
[11 empty] | Select Browse under Upload Renewals and select the enrolment extract file saved on your computer | You get a success message with a summary of enrolments uploaded | 1
Web Application | Web application test
Locations
Locations
|  | 78 | Scenario: create Region |  | Given the user is connected And the user has all right on all Locations And the user is on the location page | 1 | 1 | 2 |  |  | When user select the + in the region list | Then the user should be able to enter 'code' and 'Name 'fields | 1
[11 empty] | And click on 'add' | Change are saved | 1
|  | 81 | Scenario: create Village |  |  | 1 | 1 | 2 |  |  | When user select the + in the village list | Then the user should be able to enter 'code', 'Name 'fields, 'men','women','families','other' | 1
[11 empty] | And click on 'add' | Change are saved
|  | 79 | Scenario: create District |  |  | 1 | 1 | 2 |  |  | When user select the + in the district list | Then the user should be able to enter 'code' and 'Name 'fields | 1
[11 empty] | And click on 'add' | Change are saved
|  | 83 | Scenario: modify District |  |  | 1 | 1 | 2 |  |  | When the user double click on a district | Then the user should be able to enter 'code' and 'Name 'fields | 1
[11 empty] | And click on 'save' | Change are saved
|  | 84 | Scenario: modify Municipalities |  |  | 1 | 1 | 2 |  |  | When the user double click on a municipality | Then the user should be able to enter 'code' and 'Name 'fields | 1
[11 empty] | And click on 'save' | Change are saved
|  | 85 | Scenario: modify Village |  |  | 1 | 1 | 2 |  |  | When the user double click on a village | Then the user should be able to enter 'code', 'Name 'fields, 'men','women','families','other' | 1
[11 empty] | And click on 'save' | Change are saved
|  | 80 | Scenario: create Municipalities |  |  | 1 | 1 | 2 |  |  | When user select the + in the municipality list | Then the user should be able to enter 'code' and 'Name 'fields | 1
[11 empty] | And click on 'add' | Change are saved
|  | 86 | Scenario: moving a Location |  |  | 1 | 1 | 2 |  |  | When the user click on the crossing arrows next to a region name | the current parent should apprear in readonly and the new parent should be editable (level and entity) | 1
[11 empty] | And click on 'move' | Change are saved
|  | 82 | Scenario: modify Region |  |  | 1 | 1 | 2 |  |  | When the user double click on a region | Then the user should be able to enter 'code', 'Name 'fields, | 1
[11 empty] | And click on 'save' | Change are saved
|  | 88 | Scenario: deleting a Village |  |  | 1 | 1 | 2 |  |  | When the user click on the trash can next to a region name | A confirmation box is displayed | 1
[11 empty] | and click on 'delete' | the location is deleted
|  | 89 | Scenario: deleting a Municipality and underlying Location |  |  | 1 | 1 | 2 |  |  | When the user click on the trash can next to a municipality name | then two choices are possible removing the underlying village or moving then to another locaton of the same level and parent | 1
[11 empty] | And select on 'Delete' with sub location and click on delete | the location and its sub locations are deleted
|  | 90 | Scenario: deleting a Municipality and move underlying Location |  |  | 1 | 1 | 2 |  |  | When the user click on the trash can next to a municipality name | then two choices are possible removing the underlying village or moving then to another locaton of the same level and parent | 1
[11 empty] | And select on 'Delete' with move sub location | a drop dow of the location with the same parent is showed
[11 empty] | And select the new parent and click on 'Delete' | the location is deleted and the sub location are moved under the choosen location
|  | 91 | Scenario: deleting a District and underlying Location |  |  | 1 | 1 | 2 |  |  | When the user click on the trash can next to a municipality name | then two choices are possible removing the underlying village or moving then to another locaton of the same level and parent | 1
[11 empty] | And select on 'Delete' with sub location and click on delete | the location and its sub locations are deleted
|  | 92 | Scenario: deleting a District and move underlying Location |  |  | 1 | 1 | 2 |  |  | When the user click on the trash can next to a municipality name | then two choices are possible removing the underlying village or moving then to another locaton of the same level and parent | 1
[11 empty] | And select on 'Delete' with move sub location | a drop dow of the location with the same parent is showed
[11 empty] | And select the new parent and click on 'Delete' | the location is deleted and the sub location are moved under the choosen location
|  | 93 | Scenario: deleting a Region and underlying Location |  |  | 1 | 1 | 2 |  |  | When the user click on the trash can next to a region name | then two choices are possible removing the underlying village or moving then to another locaton of the same level and parent | 1
[11 empty] | And select on 'Delete' with sub location and click on delete | the location and its sub locations are deleted
|  | 94 | Scenario: deleting a Region and move underlying Location |  |  | 1 | 1 | 2 |  |  | When the user click on the trash can next to a region name | then two choices are possible removing the underlying village or moving then to another locaton of the same level and parent | 1
[11 empty] | And select on 'Delete' with move sub location | a drop dow of the location with the same parent is showed
[11 empty] | And select the new parent and click on 'Delete' | the location is deleted and the sub location are moved under the choosen location
Web Application | Web application test
Locations
Locations (legacy)
|  | 78 | Scenario: create Region |  | Given the user is connected And the user has all right on all Locations And the user is on the location page | 1 | 1 | 2 |  |  | When user double click on the region list and click on 'add' | Then the user should be able to enter 'code' and 'Name 'fields | 1
[11 empty] | And click on 'save' | Change are saved | 1
|  | 81 | Scenario: create Village |  |  | 1 | 1 | 2 |  |  | When user double click on the village list and click on 'add' | Then the user should be able to enter 'code' and 'Name', 'men','women','families','other' fields | 1
[11 empty] | And click on 'save' | Change are saved
|  | 79 | Scenario: create District |  |  | 1 | 1 | 2 |  |  | When user double click on the district list and click on 'add' | Then the user should be able to enter 'code' and 'Name 'fields | 1
[11 empty] | And click on 'save' | Change are saved
|  | 83 | Scenario: modify District |  |  | 1 | 1 | 2 |  |  | When user double click on the district list and click on 'edit' | Then the user should be able to enter 'code' and 'Name 'fields | 1
[11 empty] | And click on 'save' | Change are saved
|  | 84 | Scenario: modify Municipalities |  |  | 1 | 1 | 2 |  |  | When user double click on the municipality list and click on 'edit' | Then the user should be able to enter 'code' and 'Name 'fields | 1
[11 empty] | And click on 'save' | Change are saved
|  | 85 | Scenario: modify Village |  |  | 1 | 1 | 2 |  |  | When user double click on the village list and click on 'edit' | Then the user should be able to enter 'code' and 'Name', 'men','women','families','other' fields | 1
[11 empty] | And click on 'save' | Change are saved
|  | 80 | Scenario: create Municipalities |  |  | 1 | 1 | 2 |  |  | When user double click on the municipality list and click on 'add' | Then the user should be able to enter 'code' and 'Name 'fields | 1
[11 empty] | And click on 'save' | Change are saved
|  | 86 | Scenario: moving a Location |  |  | 1 | 1 | 2 |  |  | When the user click on 'move' | 4 lists will enable him to select the locaiton to move and the new parent location | 1
[11 empty] | And click on arrow at the left of the parent column | Location is moved
|  | 82 | Scenario: modify Region |  |  | 1 | 1 | 2 |  |  | When user double click on the region list and click on 'edit' | Then the user should be able to enter 'code' and 'Name', fields | 1
[11 empty] | And click on 'save' | Change are saved
|  | 88 | Scenario: deleting a Location |  |  | 1 | 1 | 2 |  |  | When user double click on the municipality list and click on 'delete' | A confirmation box is displayed | 1
[11 empty] | and click on 'delete' | the location is deleted
Web Application | Web application test
Locations
Health facilities
|  | 48 | Create a HF |  | Scenario: open the creation page Given the user is connected to openIMIS And the user is on the HF search page When the user click on the 'add' button | 1 | 1 | 2 |  |  | When the user try to save the HF without on of the mandatory field filled | Then saving the claim shouldn't be possible | 1
[11 empty] | When the user select the location of the HF (region and district from the drop down) then click on the selection box for the 'item price list' | Then the user should be able to chose one 'Item price list' | 1
[11 empty] | When the user click on the selection box for the 'Service price list' | Then the user should be able to chose one 'Service price list' | 1
[11 empty] | When the user select a 'region' | Then the 'district' under that 'region' should appear in the 'district' column | 1
[11 empty] | When the user select a 'district' | Then the 'Municipalities' under that 'district' should appear in the 'Municipalities' column | 1
[11 empty] | When the user select a 'Municipalities' | Then the 'Villages' under that 'Municipalities' should appear in the 'Village' column And the 'precentage of catchement' per village is editable | 1
[11 empty] | When the user enter a 'percentage of catchement' for a village | Then the data entered should be kept until the page is open even if the user enter 'percentage of catchement' for other region/district/municipalities | 1
[11 empty] | When the user click on 'Save' | Then the HF must be saved | 1
|  | 49 | Scenario: search HF |  | Scenario: Search by region HF Given the user is connected to openIMIS And the user is on the HF search page | 1 | 1 | 2 |  |  | When the user select a region in the 'region' fields And launch the search | Then list of HF must be part of the selected 'region' | 1
[11 empty] | When the user select a District in the 'District' fields And launch the search | Then list of HF must be part of the selected 'District' | 1
[11 empty] | When the user select an option in the 'Legal form','Level','care type' fields And launch the search | Then list of HF must be part of the selected 'Legal form','Level','care type' | 1
[11 empty] | When the user enter text in the 'Code','Name','Phone', 'Fax', 'email' fields And launch the search | Then list of HF must have the entered text in its 'Code','Name','Phone', 'Fax', 'email', fields | 1
[11 empty] | When the user check the box historical value And launch the search | Then all the version of the HF matching the search criteria must be displayed
|  | 50 | Modify HF |  | Scenario: open the modification page Given the user is connected to openIMIS And the user is on the HF search page When the user select the HF And load it / click on 'modify' Then the HF page must be loaded | 1 | 1 | 2 |  |  | When the user change the selection box for the 'item price list' | Then the user should be able to chose another 'Item price list' | 1
[11 empty] | When the user change the selection box for the 'Service price list' | Then the user should be able to chose another 'Service price list' | 1
[11 empty] | When the user select a 'region' | Then the 'district' under that 'region' should be updated in the 'district' column | 1
[11 empty] | When the user select a 'district' | Then the 'Municipalities' under that 'district' should be updated in the 'Municipalities' column | 1
[11 empty] | When the user select a 'Municipalities' | Then the 'Villages' under that 'Municipalities' should be updated in the 'Village' column And the 'precentage of catchement' per village is editabl | 1
[11 empty] | When the user enter a 'percentage of catchement' for a village | Then the data entered should be kept until the page is open even if the user enter 'percentage of catchement' for other region/district/municipalities | 1
[11 empty] | When the user select an option in the 'Legal form','Level','care type' fields | Then list of related to 'Legal form','Level','care type' must be display And the user should be able to choose one. | 1
[11 empty] | When the user enter text in the 'Code','Name','Phone', 'Fax', 'email' fields | Then text 'Legal form','Level','care type' must be update | 1
[11 empty] | When the user click on 'Save' | Then the HF must be saved | 1
|  | 51 | Delete HF |  | Scenario: deleting a HF Given the user is connected to openIMIS And the user is on the HF search page | 1 | 1 | 2 |  |  | When the user select the HF And load it / click on 'Delete' And the user confirm the deletion | Then the HF must be deleted | 1
Web Application | Web application test
claims |  |  |  |  | Given HF with claim administrator is defined<br /> Given the 'Health facility claims page' is open<br /> Given the Health facility and claim administrator are selected<br /> Given the 'Add' button was clicked
HF claim(s)
|  |  | Enter a claim |  |  |  |  | 2 |  |  | Given that no fields were filled<br /> When the 'save' button is clicked<br /> | Then a message should appear to saying that the mandatory fields should be filled<br /> And the mandatory fields should be highlighted in RED (Insurance Number, Claim No, Date claimed, Visit Date From, Visit Type, Main Diag)<br />
[7 empty] | 1 | 2 |  |  | When an 'insurance number' is enter<br /> | Then the system should check if there is an insuree with this 'insurance number'<br /> And display an error message if the 'insurance number' doesn't exist
[7 empty] | 1 | 2 |  |  | When an 'Claim No' is enter<br /> | Then the system should check that the 'Claim No' doesn't exist<br /> And display an error message if the 'Claim No' does already exist
[7 empty] | 1 | 2 |  |  | When a date is entered in 'Visit Date From'<br /> And the focus leaves the cell<br /> | Then the system must check that the 'Visit Date From' before or equal to today<br /> And 'Visit Date From' is before 'Claimed Date'<br /> And 'Visit Date From' is before 'Visit Date To'
[7 empty] | 1 | 2 |  |  | When a date is entered in 'Visit Date To'<br /> | Then the system must check that the 'Visit Date To' before or equal to today<br /> And 'Visit Date To' is before or equal 'Claimed Date'<br /> And 'Visit Date To' is after 'Visit Date From'
[7 empty] | 1 | 2 |  |  | When a date is entered in 'Claimed Date'<br /> | Then the system must check that the 'Claimed Date' before or equal to today<br /> And 'Visit Date To' is before 'Claimed Date'<br /> And 'Claimed Date' is after or equal 'Visit Date From'
[7 empty] | 1 | 2 |  |  | When text are enter in the 'Main Dg.' fields<br /> | Then the system should propose Diagnoses in a drop down list where there is a matches between the text entered and the 'Diag code' or 'Diag description'<br />
[7 empty] | 1 | 2 |  |  | When text are enter in the 'Main Dg.' fields<br /> And the user select on of the Diagnosis from the drop down list<br /> | Then the system should should set the 'Main Dg.' fields with the selected Diagnosis
[7 empty] | 1 | 2 |  |  | When the user add a service row<br /> | Then an empty service row should be created in the table
[7 empty] | 1 | 2 |  |  | When the user add a item row<br /> | Then an empty item row should be created in the table
[7 empty] | 1 | 2 |  |  | When text are enter in the 'service code' fields<br /> | Then the system should propose Services in a drop down list where there is a matches between the text entered and the 'service code' or 'service description'<br />
[7 empty] | 1 | 2 |  |  | When text are enter in the 'service code' fields<br /> And the user select on of the Service from the drop down list<br /> | Then the system should should set the 'service code' fields with the selected Service<br /> And set the 'quantity' field of the row to 1<br /> And adapt the 'Price' field of the row<br /> And adapt the 'claimed' field
[7 empty] | 1 | 2 |  |  | When user change the service row 'quantity'<br /> | Then the system should should set the 'quantity' field of the row to the entered value<br /> And adapt the 'claimed' field
[7 empty] | 1 | 2 |  |  | When user change the service 'price'<br /> | Then the system should should set the 'price' field of the row to the entered value<br /> And adapt the 'claimed' field
[7 empty] | 1 | 2 |  |  | When the user change the 'Explanation' field of a service row<br /> | Then the system should should set the 'Explanation' field of the row to the entered value
[7 empty] | 1 | 2 |  |  | When text are enter in the 'item code' fields<br /> | Then the system should propose items in a drop down list where there is a matches between the text entered and the 'item code' or 'item description'<br />
[7 empty] | 1 | 2 |  |  | When text are enter in the 'item code' fields<br /> And the user select on of the item from the drop down list<br /> | Then the system should should set the 'item code' fields with the selected item<br /> And set the 'quantity' field of the row to 1<br /> And set the 'Price' field of the row<br /> And adapt the 'claimed' field
[7 empty] | 1 | 2 |  |  | When user change the item row 'quantity'<br /> | Then the system should should set the 'quantity' field of the item row to the entered value<br /> And adapt the 'claimed' field
[7 empty] | 1 | 2 |  |  | When user change the Item 'price'<br /> | Then the system should should set the 'price' field of the item row to the entered value<br /> And adapt the 'claimed' field
[7 empty] | 1 | 2 |  |  | When the user change the 'Explanation' field of a item row<br /> | Then the system should should set the 'Explanation' field of the item row to the entered value
[7 empty] | 1 | 2 |  |  | When the user click on 'Save'<br /> | then the claim should saved
[7 empty] | 1 | 2 |  |  | When the user click on refresh<br /> | then the 'print' and 'attachement' button should appear
|  |  | search claim |  |  |  |  | 2
[7 empty] | 1 | 2 |  |  | When the user select [Entered] in the 'claim status' list<br /> And the user select @HF1 in the 'HF code' field<br /> And click on the 'Search' button<br /> | Then All and only the claims for the HF @HF1 with the status [Entered] must be present in the result area in a paged manner<br /> And the number of claim found must be displayed before 'Claims found' Area
[7 empty] | 1 | 2 |  |  | When the user pick @date1 in the 'Claim Date From' date picker<br /> And the user pick @date2 in the 'Claim Date To' date picker<br /> And the user select @HF1 in the 'HF code' field<br /> And click on the 'Search' button<br /> | Then All and only the claims for the HF @HF1 between @date1 and @date2 must be present in the result area in a paged manner<br /> And the number of claim found must be displayed before 'Claims found' Area<br />
|  |  | Load a claim |  |  |  |  | 2 |  |  | When the user click on @CM1 claim row in the result area<br /> | Then the claim should be highlighted
[11 empty] | On the HF claim overview page, when the use click on a claim @CM1 (double click for the modular, click and 'load'/click on the underlined part for legacy) | Then the claim screen should be loaded with the @CM1 claim details
[7 empty] | 1 | 2 |  |  | When the user click on the print buton,<br /> | then a PDF version of the claim should be generated<br /> And the download should start | 1
[11 empty] | When the user click on the attachement(modular only) icon a pop up shoud enable to enter the 'Title', 'Type', 'Date'And click on the '+' | Then the windows to select a file should appear | 1
[11 empty] | When the user select a file (modular only) | Then the file is added to the claim with the 'Title', 'Type', 'Date' provided by the user | 1
|  | 27 | Scenario: Submitting a valid claim | When the user click on the 'Submit' button<br /> Then the number of submitted claim (1) is displayed on the user portal<br /> And the number of checked claim (1) is displayed on the user portal<br /> And the number of submitted service (3) is displayed on the user portal<br /> And the number of checked service (3) is displayed on the user portal<br /> And the number of submitted Items (3) is displayed on the user portal<br /> And the number of checked claim (3) is displayed on the user portal | Given a [entered] claim @S1 was selected<br /> Given that claim @S1 respect the product rules for all its (3) Services and (3) Items<br /> # @A need to refer to a claim in the demo database | 1 | 1 | 2
|  | 28 | Scenario: Submitting a partially valid claim | When the user click on the 'Submit' button<br /> Then the number of submitted claim (1) is displayed on the user portal<br /> And the number of checked claim (1) is displayed on the user portal<br /> And the number of submitted service (3) is displayed on the user portal<br /> And the number of checked service (3) is displayed on the user portal<br /> And the number of submitted Items (3) is displayed on the user portal<br /> And the number of checked claim (2) is displayed on the user portal<br /> And the number of rejected claim (1) is displayed on the user portal<br /> | Given a [entered] claim @S2 was selected<br /> Given that claim @S2 respect the product rules for all its (3) Services and (2) out of the (3) Items | 1 | 1 | 2
|  | 29 | Scenario: Submitting a none valid claim | When the user click on the 'Submit' button<br /> Then the number of submitted claim (1) is displayed on the user portal<br /> And the number of Rejected claim (1) is displayed on the user portal<br /> And the number of submitted service (3) is displayed on the user portal<br /> And the number of Rejected service (3) is displayed on the user portal<br /> And the number of submitted Items (3) is displayed on the user portal<br /> And the number of rejected claim (3) is displayed on the user portal<br /> | Given a [entered] claim @S3 was selected<br /> Given that claim @S3 doesn't respect the product rules for all its (3) Services and (3) Items | 1 | 1 | 2
|  | 30 | Scenario: Submitting the a single claim | When the user click on the 'Submit' button<br /> Then the number of submitted claim (1) is displayed on the user portal<br /> And the number of checked claim (1) is displayed on the user portal<br /> And the number of submitted service (3) is displayed on the user portal<br /> And the number of checked service (3) is displayed on the user portal<br /> And the number of submitted Items (3) is displayed on the user portal<br /> And the number of checked claim (3) is displayed on the user portal | <br /> Given the checkbox of an [entered] claim @S4 was ticked | 1 | 1 | 2
|  | 31 | Scenario: Submitting multiple claim | When the 'Selected To Submit' checkbox is ticked<br /> Then all the [entered] claims from the result area have their checkbox ticked<br /> | Given [entered] claim @S8 was ticked | 1 | 1 | 2
|  | 35 | Scenario: Selecting all the claim with a value above @val1 for review | Whentheuserselect[reviewselect]in'criteriadetails'intheClaimselectionupdate Andcheckedthe'Value'checkbox Andenterthethe@val1inthevaluefields Andclickonupdate Thentheclaimwith[idle]inthereviewstatusandhavinga'value'above@val1shouldhavetheirreviewstatusupdatedto[Selectedforfeedback] | GiventheuserhaveaClaimadministratorrole Giventhereisclaimswith[Checked]statuson@HF1andwiththereviewstatusto[idle] | 1 | 1 | 2
Web Application | Web application test
claims
Reviewing claim(s)
|  | 36 | Scenario: Selecting all the claim with a value above the mean + @var1 variance | Whentheuserselect[reviewselect]in'criteriadetails'intheClaimselectionupdate Andcheckedthe'Variance'checkbox Andenterthethe@var1inthevaluefields Andclickonupdate Thentheclaimwith[idle]inthereviewstatusandhavingavalueabovethemean+@var1varianceshouldhavetheirreviewstatusupdatedto[Selectedforfeedback] | GiventheuserhaveaClaimadministratorrole Giventhereisclaimswith[Checked]statuson@HF1andwiththereviewstatusto[idle] | 1 | 1 | 2
|  | 37 | Scenario: Selecting @per1 percent of the claim | Whentheuserselect[reviewselect]in'criteriadetails'intheClaimselectionupdate Andcheckedthe'Variance'checkbox Andenterthethe@var1inthevaluefields Andclickonupdate Thentheclaimwith[idle]inthereviewstatusandhavinga'Variance'above@var1shouldhavetheirreviewstatusupdatedto[Selectedforfeedback] | GiventheuserhaveaClaimadministratorrole Giventhereisclaimswith[Checked]statuson@HF1andwiththereviewstatusto[idle] | 1 | 1 | 2
|  | 38 | Scenario: Selecting all the claim with a value above @val1 for feedback | Whentheuserselect[feedbackselect]in'criteriadetails'intheClaimselectionupdate Andcheckedthe'Value'checkbox Andenterthethe@val1inthevaluefields Andclickonupdate Thentheclaimwith[idle]inthefeedbackstatusandhavinga'value'above@val1shouldhavetheirfeedbackstatusupdatedto[Selectedforfeedback] | GiventheuserhaveaClaimadministratorrole Giventhereisclaimswith[Checked]statuson@HF1andwiththefeedbackstatusto[idle] | 1 | 1 | 2
|  | 39 | Scenario: Selecting all the claim with a value above the mean + @var1 variance | Whentheuserselect[feedbackselect]in'criteriadetails'intheClaimselectionupdate Andcheckedthe'Variance'checkbox Andenterthethe@var1inthevaluefields Andclickonupdate Thentheclaimwith[idle]inthefeedbackstatusandhavingavalueabovethemean+@var1varianceshouldhavetheirfeedbackstatusupdatedto[Selectedforfeedback] | GiventheuserhaveaClaimadministratorrole Andthereisclaimswith[Checked]statuson@HF1andwiththefeedbackstatusto[idle] | 1 | 1 | 2
|  | 40 | Scenario: Selecting @per1 percent of the claim | Whentheuserselect[feedbackselect]in'criteriadetails'intheClaimselectionupdate Andcheckedthe'Variance'checkbox Andenterthethe@var1inthevaluefields Andclickonupdate Thentheclaimwith[idle]inthefeedbackstatusandhavinga'Variance'above@var1shouldhavetheirfeedbackstatusupdatedto[Selectedforfeedback] | GiventheuserhaveaClaimadministratorrole Andthereisclaimswith[Checked]statuson@HF1andwiththefeedbackstatusto[idle] | 1 | 1 | 2
|  | 34 | Scenario: the filter selected must be taken into account | Whentheuserselect[Checked]inthe'claimstatus'list Andtheuserselect@HF1inthe'HFcode'field Andtheuserpick@date1inthe'ClaimDateFrom'datepicker Andtheuserpick@date2inthe'ClaimDateTo'datepicker Andclickonthe'Search'button ThenAllandonlytheclaimsfortheHF@HF1withthestatus[Checked]claimedbetween@date1and@date2mustbepresentintheresultareainapagedmanner Andthenumberofclaimfoundmustbedisplayedbefore'Claimsfound'Area | Giventhereisclaimswith[Checked]statuson@HF1claimedbetween@date1and@date2on@HF1 | 1 | 1 | 2
|  | 42 | update on the claim must be taken into account |  | <div> <div>Giventheclaim@CM1isin'Checked'status</div> <div>Andtheclaim@CM1is'selectedforreview'</div> <div> <div> <div>Andtheclaim@CM1hasanon-rejectedService@SC1</div> <div>Andtheclaim@CM1hasanon-rejected Item@IM1</div> <div>Andthereviewpageisopenfortheclaim@CM1</div> </div> </div> </div> | 1 | 1 | 2 |  |  | Whentheuseraddatextintheclaim@CM1'Adjustement'fields Andtheusersavetheclaim@CM1 | Thenthetextenteredintheclaim@CM1'Adjustement'fieldsmustbesaved | 1
[11 empty] | WhentheuseraddatextintheclaimItem@IM1'Adjustement'fields Andtheusersavetheclaim@CM1 | ThenthetextenteredintheclaimItem@IM1'Adjustement'fieldsmustbesaved | 1
[11 empty] | WhentheuseraddatextintheclaimService@SC1'Adjustement'fields Andtheusersavetheclaim@CM1 | ThenthetextenteredintheclaimService@SC1'Adjustement'fieldsmustbesaved | 1
[11 empty] | Whentheuserchangethe'App.quantity'oftheclaimItem@IM1 Andtheusersavetheclaim@CM1 | Thenthe'Totalapproved'needtobeupdatedthethenewitemtotal:'App.Quantity*Price' Andthe'App.quantity'issaved | 1
[11 empty] | hentheuserchangethe'App.Price'andthe'App.quantity'oftheclaimItem@IM1 Andtheusersavetheclaim@CM1 | Thenthe'Totalapproved'needtobeupdatedthethenewitemtotal:'App.Quantity*App.Price' Andthe'App.Price'issaved Andthe'App.quantity'issaved | 1
[11 empty] | Whentheuserchangethe'App.Price'oftheclaimItem@IM1 Andtheusersavetheclaim@CM1 | Thenthe'Totalapproved'needtobeupdatedthethenewitemtotal:'Quantity*App.Price' Andthe'App.Price'issaved | 1
[11 empty] | Whentheuserchangethe'App.quantity'oftheclaimService@SC1 Andtheusersavetheclaim@CM1 | Thenthe'Totalapproved'needtobeupdatedthethenewServicetotal:'App.Quantity*Price' Andthe'App.Price'issaved | 1
[11 empty] | Whentheuserchangethe'App.Price'andthe'App.quantity'oftheclaimService@SC1 Andtheusersavetheclaim@CM1 | Thenthe'Totalapproved'needtobeupdatedthethenewServicetotal:'App.Quantity*App.Price' Andthe'App.Price'issaved Andthe'App.quantity'issaved | 1
[11 empty] | Whentheuserchangethe'App.Price'oftheclaimService@SC1 Andtheusersavetheclaim@CM1 | Thenthe'Totalapproved'needtobeupdatedthethenewServicetotal:'Quantity*App.Price' Andthe'App.quantity'issaved | 1
|  | 41 | Scenario: Changing data entered a the HF | <div> <div>Whentheusertrytochange'HealthFacility','InsureeID','Name','VisitDateFrom','VisitDateTo','DateClaimed','VisitType','MainDiagnosis','ClaimNo.&thinsp;','guaranteeNo.','Claimed','SecDg1','SecDg2','SecDg3','SecDg4','ClaimAdministrator','Explaination'</div> <div>Thenheshouldbeblocked(noteditablefields)</div> </div> | <div> <div>Giventheclaim@CM1isin'Checked'status</div> <div>Andtheclaim@CM1is'selectedforreview'</div> </div> | 1 | 1 | 2
|  | 43 | Scenario: Submitting a claim review | <div> <div>Giventheclaim@CM1isin'Checked'status</div> <div>Andtheclaim@CM1is'selectedforreview'</div> <div> <div> <div>Whentheuserclickonthe'Review'button</div> <div>Thentheclaim@CM1ismarkedasreview</div> <div>Andtherevieycannotbeupdated</div> </div> </div> </div> |  | 1 | 1 | 2
Web Application | Web application test
claims
Restoring a claim
|  | 44 | Scenario: restoring rejected claim | <div> <div>Givena[rejected]claim@R1wasselected</div> <div>Giventhe'load'buttonwasclicked</div> <div>Giventheclaim@R1isproperlyloaded</div> <div>Whentheuserclickonthe'Restore'button</div> <div>Thenthenewclaim@Bscreenshouldbeloadedwith:'HFCode','HFName','insurancenumber','PatientName','MainDg.','DateClaimed','SecDg1','SecDg2','SecDg3','SecDg4','ClaimAdministrator,GuaranteeNo','VisitDateFrom','VisitDateTo'and'VisitType'fromclaim@R1</div> <div>ThenAllservicesrowsfields('SERVICECODE','QUANTITY','PRICE'and'EXPLAINATION')fromclaim@R1</div> <div>AndAllItemsrowsfields('SERVICECODE','QUANTITY','PRICE'and'EXPLAINATION')fromclaim@R1</div> <div>Then'Claimed'shouldbecalculated</div> <div>But'ClaimNo'shouldbetheonefromclaim@R1witha'@'prefix</div> </div> | <div> <div>Background:</div> <div>GivenHFwithclaimadministratorisdefined</div> <div>Giventhe'Healthfacilityclaimspage'isopen</div> <div>GiventheHealthfacilityandclaimadministratorareselected</div> <div>Giventhe'search'buttonwasclicked</div> </div> | 1 | 1 | 2
|  | 45 | Scenario: restoring entered claim | <div> <div>Whentheuserclickonthe'Restore'button</div> <div>Thenthenewclaim@R2screenshouldbeloadedwith:'HFCode','HFName',,'MainDg.','DateClaimed','SecDg1','SecDg2','SecDg3','SecDg4','ClaimAdministrator,GuaranteeNo','VisitDateFrom','VisitDateTo'and'VisitType'fromclaim@R2</div> <div>ThenAllservicesrowsfields('SERVICECODE','QUANTITY','PRICE'and'EXPLAINATION')fromclaim@R2</div> <div>AndAllItemsrowsfields('SERVICECODE','QUANTITY','PRICE'and'EXPLAINATION')fromclaim@R2</div> <div>Then'Claimed'shouldbecalculated</div> <div>But'ClaimNo','insurancenumber'and'PatientName'shouldremainempty</div> </div> | <div> <div>Givenanot[entered]claim@R2wasselected</div> <div>Giventhe'load'buttonwasclicked</div> <div>Giventheclaim@R2isproperlyloaded</div> </div> | 1 | 1 | 2
|  | 46 | Scenario: restoring valuated claim | <div> <div>Whentheuserclickonthe'Restore'button</div> <div>Thenthenewclaim@R3screenshouldbeloadedwith:'HFCode','HFName',,'MainDg.','DateClaimed','SecDg1','SecDg2','SecDg3','SecDg4','ClaimAdministrator,GuaranteeNo','VisitDateFrom','VisitDateTo'and'VisitType'fromclaim@R3</div> <div>ThenAllservicesrowsfields('SERVICECODE','QUANTITY','PRICE'and'EXPLAINATION')fromclaim@R3</div> <div>AndAllItemsrowsfields('SERVICECODE','QUANTITY','PRICE'and'EXPLAINATION')fromclaim@R3</div> <div>Then'Claimed'shouldbecalculated</div> <div>But'ClaimNo','insurancenumber'and'PatientName'shouldremainempty</div> </div> | <div> <div>Givenanot[valuated]claim@R3wasselected</div> <div>Giventhe'load'buttonwasclicked</div> <div>Giventheclaim@R3isproperlyloaded</div> </div> | 1 | 1 | 2
|  | 47 | Scenario: restoring checked claim | <div> <div>Whentheuserclickonthe'Restore'button</div> <div>Thenthenewclaim@R4screenshouldbeloadedwith:'HFCode','HFName',,'MainDg.','DateClaimed','SecDg1','SecDg2','SecDg3','SecDg4','ClaimAdministrator,GuaranteeNo','VisitDateFrom','VisitDateTo'and'VisitType'fromclaim@R4</div> <div>ThenAllservicesrowsfields('SERVICECODE','QUANTITY','PRICE'and'EXPLAINATION')fromclaim@R4</div> <div>AndAllItemsrowsfields('SERVICECODE','QUANTITY','PRICE'and'EXPLAINATION')fromclaim@R4</div> <div>Then'Claimed'shouldbecalculated</div> <div>But'ClaimNo','insurancenumber'and'PatientName'shouldremainempty</div> </div> | <div> <div>Givenanot[checked]claim@R4wasselected</div> <div>Giventhe'load'buttonwasclicked</div> <div>Giventheclaim@R4isproperlyloaded</div> </div> | 1 | 1 | 2
Web Application | Web application test
claims
claim checks
|  | 98 | Scenario: 16.1 insuree having already used all her antenatal | <div> <div>Whentheservice@SC6isaddedtotheclaim@CM6</div> <div>Andtheclaim@CM6issubmitted</div> <div>Thentheservice@SC6mustberejectedwiththe'reasoncode 19'</div> </div> | <div> <div>Giventheservice@SC6isa'A'typeservice</div> <div>Andthedeliverieslimitsisalreadyreachedforthebeneficiary@BE3forhisactivepolicy@PL1</div> <div></div> <div>With the test data script I84 has A type of service</div> <div></div> </div> | 1 | 1 | 2
|  | 52 | Scenario: 1.1 beneficiary not found | <div> <div>Whentheclaim@CM1issubmittedby@CA</div> <div> <div> <div>Thentheclaim@CM1isrejectedwiththe'errorcode7'</div> </div> </div> </div> | <div> <div> <div> <div>Background:</div> <div>Given@HF1isavalidhealthfacility</div> <div>And@CAisavalidclaimadministrator</div> </div> Givenaclaim@CM1iscreatedforavalidhealthfacility@HF <div> <div>Andthebeneficiary@BE1provideddoesn'texist</div> <div>Andthedatesarecorrectes</div> </div> </div> </div> | 1 | 1 | 2
|  | 53 | Scenario: 1.2 Familly/Group not found | <div> <div>Whentheclaim@CM2issubmittedby@CA</div> <div>Thentheclaim@CM2isrejectedwiththe'errorcode7'</div> </div> | <div> <div>Givenaclaim@CM2iscreatedforavalidhealthfacility@HF</div> <div>Andthebeneficiary@BE2providedexistbutdoesn'tbelongtoavalidgroup/familly(ie.nohead?)</div> <div>Andthedatesarecorrectes</div> </div> | 1 | 1 | 2
|  | 54 | Scenario: 1.3 no active policy on the familly/group | <div> <div>Whentheclaim@CM3issubmittedby@CA</div> <div>Thentheclaim@CM3isrejectedwiththe'errorcode7'</div> </div> | <div> <div>Givenaclaim@CM3iscreatedforavalidhealthfacility@HF</div> <div>Andthebeneficiary@BE3providedbelonggroup/familly@FM1notcoveredbyapolicy</div> <div>Andthedatesarecorrectes</div> </div> | 1 | 1 | 2
|  | 55 | Scenario: 2.1 Care 'From' date empty | <div> <div>Whentheclaim@CM4issubmittedby@CA</div> <div>Thentheclaim@CM4isrejectedwiththe'errorcode9'</div> </div> | <div> <div>Givenaclaim@CM4iscreatedforavalidhealthfacility@HF</div> <div>Andtheclaim@CM4isforthebeneficiary@BE3</div> <div>Andthe'visitdatefrom'isemptyorunvalid</div> </div> | 1 | 1 | 2
|  | 56 | Scenario: 2.2 Care 'To' date before 'From' date | <div> <div>Whentheclaim@CM5issubmittedby@CA</div> <div>Thentheclaim@CM5isrejectedwiththe'errorcode9'</div> </div> | <div> <div>Givenaclaim@CM5iscreatedforavalidhealthfacility@HF</div> <div>Andtheclaim@CM5isforthebeneficiary@BE3</div> <div>Andthe'visitdatefrom'isempty</div> <div>Andthe'visitdateTo'isemptyorunvalid</div> </div> | 1 | 1 | 2
|  | 57 | Scenario: 3.1 The Item doesn't have a mask compatible with the beneficiary mask | <div> <div>Whentheclaim@CM6issubmittedby@CA</div> <div>ThentheService@IT1oftheclaim@CM6isrejectedwiththe'errorcode4'</div> </div> | <div> <div>GiventheBeneficiaryhasamask@MS1</div> <div>WhentheItem@IT1isaddedtotheclaim@CM6</div> <div>Andtheservice@IT1mask@MS2isnotcompatiblewith@MS1</div> </div> | 1 | 1 | 2
|  | 58 | Scenario: 3.2 The Service doesn't have a mask compatible with the beneficiary mask | <div> <div>Whentheclaim@CM6issubmittedby@CA</div> <div>ThentheService@SC1oftheclaim@CM6isrejectedwiththe'errorcode4'</div> </div> | <div> <div>GiventheBeneficiaryhasamask@MS1</div> <div>Whentheservice@SC1isaddedtotheclaim@CM6</div> <div>Andtheservice@SC1mask@MS2isnotcompatiblewith@MS1</div> </div> | 1 | 1 | 2
|  | 59 | Rule: 4. the beneficiary CANNOT benefit from the service/item within the waiting period | <div> <div>Whenthisservice@SC2isaddedtoanewclaim@CM6</div> <div>Andtheclaim@CM6issubmittedby@CA</div> <div>Thentheservice@SC2mustberejected(andtheclaimifnoothervalidservice/Item)withthe'reasoncode17'</div> </div> | <div> <div>Giventhattheservice@SC2hasawaitingperiodset</div> <div>Andthewaitingperiodisnotreached(policyagesmallerthanwaitingperiod&amp;notarenewal)</div> </div> | 1 | 1 | 2
|  | 60 | Scenario: 4.2 The Item cannot be provided within the item waiting period | <div> <div>WhenthisItem@IT2isaddedtoanewclaim@CM6</div> <div>Andtheclaim@CM6issubmittedby@CA</div> <div>ThentheItem@IT2mustberejected(andtheclaimifnoothervalidservice/Item)withthe'reasoncode17'</div> </div> | <div> <div>GiventhattheItem@IT2hasawaitingperiodset</div> <div>Andthewaitingperiodisnotreached(policyagesmallerthanwaitingperiod&amp;notarenewal)</div> </div> | 1 | 1 | 2
|  | 61 | Scenario: 5.1 The service was already provided the maximum number of time for an adult | <div> <div>Whenthisserviceisaddedtoanewclaim@CM6</div> <div>Andtheclaimissubmittedby@CA</div> <div>Thentheservice@SC3mustberejected(andtheclaimifnoothervalidservice/Item)withthe'reasoncode16'</div> </div> | <div> <div>Giventhattheservice@SC3hasaceilingsetforadults</div> <div>Anditsservice@SC3cielingisalreadyreachedforthebeneficiary@BE3forhisactivepolicy@PL1</div> <div></div> </div> | 1 | 1 | 2
|  | 62 | Scenario: 5.2 The Item was already provided within the maximum number of time time for an children | <div> <div>Whenthisitem@IT3isaddedtoanewclaim@CM7</div> <div>Andtheclaimissubmittedby@CA</div> <div>Thentheitem@IT3mustberejected(andtheclaimifnoothervalidservice/Item)withthe'reasoncode16'</div> </div> | <div> <div>Giventhattheitem@IT3hasaceilingsetforchildrens</div> <div>Andtheitem@IT3cielingisalreadyreachedforthebeneficiary@BE3forhisactivepolicy@PL1</div> <div></div> </div> | 1 | 1 | 2
|  | 63 | Scenario: 6.1 insuree having already used all her consultations | <div> <div>Whentheservice@SC4isaddedtotheclaim@CM6</div> <div>Andtheclaim@CM6issubmitted</div> <div>Thentheservice@SC4mustberejectedwiththe'reasoncode13'</div> </div> | <div> <div>Giventheservice@SC4isa'C'typeservice</div> <div>Andtheconsultationlimitsisalreadyreachedforthebeneficiary@BE3forhisactivepolicy@PL1</div> <div></div> </div> | 1 | 1 | 2
|  | 64 | Scenario: 7.1 insuree having already used all her surgeries | <div> <div>Whentheservice@SC5isaddedtotheclaim@CM6</div> <div>Andtheclaim@CM6issubmitted</div> <div>Thentheservice@SC5mustberejectedwiththe'reasoncode14'</div> </div> | <div> <div>Giventheservice@SC5isa'S'typeservice</div> <div>Andthesurgerieslimitsisalreadyreachedforthebeneficiary@BE3forhisactivepolicy@PL1</div> <div></div> </div> | 1 | 1 | 2
|  | 65 | Scenario: 8.1 insuree having already used all her delivery | <div> <div>Whentheservice@SC6isaddedtotheclaim@CM6</div> <div>Andtheclaim@CM6issubmitted</div> <div>Thentheservice@SC6mustberejectedwiththe'reasoncode15'</div> </div> | <div> <div>Giventheservice@SC6isa'D'typeservice</div> <div>Andthedeliverieslimitsisalreadyreachedforthebeneficiary@BE3forhisactivepolicy@PL1</div> <div></div> </div> | 1 | 1 | 2
|  | 66 | Scenario: 9.1 insuree having already used all her hospital visit | <div> <div> <div> <div></div> </div> <div> <div>Whentheservice@SC7isaddedtotheclaim@CM6</div> <div>Andtheclaim@CM6issubmitted</div> <div>Thentheservice@SC7mustberejectedwiththe'reasoncode11'</div> </div> </div> </div> | <div>Giventheservice@SC7isa'H'typeservice</div> <div>AndtheHospitalvisitlimitsisalreadyreachedforthebeneficiary@BE3forhisactivepolicy@PL1</div> | 1 | 1 | 2
|  | 67 | Scenario: 10.1 insuree having already used all her hospital visit | <div> <div> <div> <div>Whentheservice@SC8isaddedtotheclaim@CM6</div> <div>Andtheclaim@CM6issubmitted</div> <div>Thentheservice@SC8mustberejectedwiththe'reasoncode12'</div> </div> </div> </div> | <div> <div>Giventheservice@SC8isa'V'typeservice</div> <div>AndtheHospitalvisitlimitsisalreadyreachedforthebeneficiary@BE3forhisactivepolicy@PL1</div> </div> | 1 | 1 | 2
|  | 68 | Scenario: 11.1 Service not found | <div> <div> <div> <div>Whenthisservice@SC9isaddedtoanewclaim@CM6</div> <div>Andtheclaim@CM6issubmittedby@CA</div> <div>Thentheservice@SC2mustberejected(andtheclaimifnoothervalidservice/Item)withthe'reasoncode3'</div> </div> </div> </div> | <div> <div>Giventhattheservice@SC9hasdoesn'texist</div> <div></div> </div> | 1 | 1 | 2
|  | 69 | Scenario: 11.2 Item not found | <div> <div></div> <div>WhenthisItem@IT4isaddedtoanewclaim@CM6</div> <div>Andtheclaim@CM6issubmittedby@CA</div> <div>ThentheItem@IT4mustberejected(andtheclaimifnoothervalidservice/Item)withthe'reasoncode3'</div> </div> | <div> <div>GiventhattheItem@IT4hasdoesn'texist</div> <div></div> </div> | 1 | 1 | 2
|  | 70 | Scenario: 12.1 Invalid Item (not covered by policy I guess) | <div> <div>WhentheItem@IT5isaddedtoanewclaim@CM6</div> <div>Andtheclaim@CM6issubmittedby@CA</div> <div>ThentheItem@IT5mustberejected(andtheclaimifnoothervalidservice/Item)withthe'reasoncode1'</div> </div> | <div> <div> <div> <div>iventhattheItem@IT5doesn'texistfortheclaimdate</div> </div> </div> </div> | 1 | 1 | 2
|  | 71 | Scenario: 12.2 Invalid service | <div> <div>Whentheservice@SC10isaddedtoanewclaim@CM6</div> <div>Andtheclaim@CM6issubmittedby@CA</div> <div>Thentheservice@SC10mustberejected(andtheclaimifnoothervalidservice/Item)withthe'reasoncode1'</div> <br /> </div> | <div> <div> <div> <div>Giventhattheservice@SC10doesn'texistfortheclaimdate</div> </div> </div> </div> | 1 | 1 | 2
|  | 72 | Scenario: 13.1 Item not part of a valid price list | <div> <div> <div>WhentheItem@IT6isaddedtoanewclaim@CM6</div> <div>Andtheclaim@CM6issubmittedby@CA</div> <div>ThentheItem@IT6mustberejected(andtheclaimifnoothervalidservice/Item)withthe'reasoncode2'</div> </div> </div> | <div> <div>GiventhattheItem@IT6exist</div> <div>AndtheItem@IT6isnotinapricelistvalidfor@HFand@PL1</div> <div></div> </div> | 1 | 1 | 2
|  | 73 | Scenario: 13.2 Service not part of a valid price list | <div> <div> <div> <div>Whentheservice@SC11isaddedtoanewclaim@CM6</div> <div>Andtheclaim@CM6issubmittedby@CA</div> <div>Thentheservice@SC11mustberejected(andtheclaimifnoothervalidservice/Item)withthe'reasoncode2'</div> </div> </div> </div> | <div> <div>Giventhattheservice@SC11exist</div> <div>Andtheservice@SC11isnotinapricelistvalidfor@HFand@PL1</div> <div></div> </div> | 1 | 1 | 2
|  | 74 | Scenario: 14.1 Item not for the right care type (in/out patient) | <div> <div>WhentheItem@IT7isaddedtoanewclaim@CM7</div> <div>Andtheclaim@CM7issubmittedby@CA</div> <div>ThentheItem@IT7mustberejected(andtheclaimifnoothervalidservice/Item)withthe'reasoncode10'</div> </div> | <div> <div>GiventhatItem@IT7isforan'in-patient'</div> <div></div> </div> | 1 | 1 | 2
|  | 75 | Scenario: 14.2 Service not for the right care type (in/out patient) | <div> <div>Whentheservice@SC12isaddedtoanewclaim@CM6</div> <div>Andtheclaim@CM6issubmittedby@CA</div> <div>Thentheservice@SC12mustberejected(andtheclaimifnoothervalidservice/Item)withthe'reasoncode10'</div> </div> | <div> <div>Giventhattheservice@SC12isforan'out-patient'</div> <div></div> </div> | 1 | 1 | 2
|  | 76 | Scenario: 15.1 The Service already be provided within the item frequency period | <div> <div>WhenthisService@SC15isaddedtoanewclaim@CM6</div> <div>Andtheclaim@CM6issubmittedby@CA</div> <div>ThentheService@SC15mustberejected(andtheclaimifnoothervalidservice/Item)withthe'reasoncode5'</div> <br /> </div> | <div> <div>GiventhattheService@SC15hasawaitingperiodset</div> <div> <div> <div>Andthebeneficiary@BE3hadtheService@SC15alreadycoveredbyhisactivepolicy@PL1withinthefrequencyperiod</div> <div></div> </div> </div> </div> | 1 | 1 | 2
|  | 77 | Scenario: 15.2 The Item already be provided within the item frequency period | <div> <div>WhenthisItem@IT15isaddedtoanewclaim@CM6</div> <div>Andtheclaim@CM6issubmittedby@CA</div> <div>ThentheItem@IT15mustberejected(andtheclaimifnoothervalidservice/Item)withthe'reasoncode5'</div> <br /> </div> | <div> <div>GiventhattheItem@IT15hasawaitingperiodset</div> <div>Andthebeneficiary@BE3hadtheItem@IT15alreadycoveredbyhisactivepolicy@PL1withinthefrequencyperiod</div> <div></div> </div> | 1 | 1 | 2
Web Application | Web application test
claims
Claim valuation
|  | 96 | Running a claim batch for the region @RG1 for the month @MN1 of the year @YR1 | When the user select @RG1 in the 'Region' drop-down list<br /> And the user pick @YR1 in the 'Year' drop-down list<br /> And the user pick @MN1 in the 'Month' drop-down list<br /> And click on the 'Process' button<br /> Then a claim batch should be created including the claims claimed on the month @MN1 of the year @YR1 for the region @RG1<br /> AND the claim @CL1 must have the status [Valuated] | <br /> Given there is a claim @CL1 with [Process] status for the region @RG1 claimed on the month @MN1 of the year @YR1 Service A1 from the test data update script has relative pricing therefore claim with it will go in Process status | 1 | 1 | 2
|  | 97 | creation of relative price Index | WHEN the claim batch for the month @MN1 of the year @YR1 is generated<br /> THEN a relative price index generated for that product<br /> AND the percentage respect the product distribution constraint | Given there is a product that has Service with relative Price<br /> AND there is relative price index generated for that product<br /> AND there is claim with relative price service in the month @MN1 of the year @YR1 | 1 | 1 | 2
Web Application | Web application test
Log in | Log in to the system
|  | 148 | log in to the web application | log in to the web application with given login credentials | valid login credentials are used | 1 | 1 | 2 |  |  | Go to the login page of the web application | Login page opens requesting a User Name and Password | 1
[11 empty] | Enter valid user name and password and click login | Home/Landing page of the application is displayed with the name next to a greeting for the day (as per server set time during the day) and Roles and Locations allocated to the user account listed on the top left as a column. Drop down list of the different modules are also accessible as per access granted to the user. | 1
Web Application | Web application test
Enrolment | enrolment of a new housheold using the web application
|  | 149 | Enrolment of a new household october | A new household is entered directly on the web application | The household does not exist in the system and is enrolling into the system for the first time | 1 | 1 | 2 |  |  | Login to web application with admin credentials | You will come to home page of web application | 1
[11 empty] | Go to Insurees and Policies and Select Add Families/Group | Page open to allow entry for the head of the household | 1
[11 empty] | Enter atleast mandatory data fields (with an asterix) and then click on Save (circle on bottom right of the screen) | If all entries are entered correctly the housheold head will be saved and the background of the screen will become stripped grey. | 1
[11 empty] | To get to the family overview page, click the arrow at the top left of the screen. | You are taken to the families overview page with search criteria for families and a list of all families at the bottom of the page.
[11 empty] | Enter data for the family that you have just added in the search fields. | The list below will automatically update according to the entered search criteria.
[11 empty] | Double click on the family that appears, that you just added in the previous step. | You are taken to this family's overview page.
[11 empty] | Under Insurees Select the plus sign to add family members | Page opens to capture data for next family member | 1
[11 empty] | Enter family members details and enter atleast mandatory data fields (with asterix) and then click on Save | The family member is saved. | 1
[11 empty] | To go back to the family overview page, click on the arrow at the top left of the page. | You come back to the family overview page. Picture will only display if it was sent through the mobile applicaiton against the ID number of the individual being entered
[11 empty] | Continue the the steps above till all family members are added to the family overview list and then add a policy by clicking on the plus next to the Policies section. | Page opens up where you can add the Policy details | 1
[11 empty] | Enter all the fields (with asterix) and Click Save | You come back to family overview page with the polcy added to list of Policies for the family with a message at the bottom indicating the policy was successfully added | 1
[11 empty] | Enter a payment against the policy by clicking on the plus next to Contributions | Page opens to capture details of payment made | 1
[11 empty] | Enter all information against a payment that was made either partially or fully against the Policy Vallue and click Save | Contribution Category Contributions will include by default total policy value in the field Contribution Paid with Balance calculated as 0. | 1
[11 empty] | Select OK to the message that Contribution matches the price of policy. | You return to Family Overview page with a message that Contirbution was added successfully. A family is now fully enrolled through the web application and policy status changed to Active | 1
|  | 150 | Enquire |  |  | 1 | 1 | 2 |  |  | Login to web application with admin credentials | You will come to home page of web application | 1
[11 empty] | Go to Insuree Enquiry on the top right of the page and enter a valid ID of an individual and press enter | A page opens with a summary of the details of the individuals, their insurance validaty and eligibility details. A picture and some personal details show up on the basis of whcih the individual can be identified | 1
[11 empty] | Select Close | You return to the last screen you were working on | 1
|  | 151 | Modify a family |  |  | 1 | 1 | 2 |  |  | Login to web application with admin credentials | You will come to home page of web application | 1
[11 empty] | Go to Insurees under Insurees and Policies | A page opens with multiple search criterias to display searches of an individual on | 1
[11 empty] | Enter an indiviudals ID under Insurance Number field and and click search | Message is given 1 Insuree was foundt and this insuree is listed below | 1
[11 empty] | Double click on ID number of this listed individual | The family page of this individual opens up where the individual in the list of family members is highlighted | 1
[11 empty] | Double click on the individuals number | Screen with individuals details opens | 1
[11 empty] | Modify details of the individual where needed and click on save | The modifications are saved. | 1
[11 empty] | To go back to the family overview page, click on the arrow at the top left of the page. | You are returned to the family overview page.
|  |  | Delete an insuree | [7 empty] | Login to web application with admin credentials | You will come to home page of web application | 1
[11 empty] | Go to Insurees under Insurees and Policies | A page opens with multiple search criterias to display searches of an individual on | 1
[11 empty] | Enter an indiviudals ID under Insurance Number field and and click search | Message is given 1 Insuree was foundt and this insuree is listed below | 1
[11 empty] | Click on ID number of this listed individual | The family page of this individual opens up where the individual in the list of family members is highlighted | 1
[11 empty] | Select the Delete 'cross sign' icon next to the Insurees section on the right. | A pop-up message appears asking if you are sure you want to remove that individual from the family. | 1
[11 empty] | Select remove and keep policy | The row of that individual now appears with grey stripes.
[11 empty] | Login to web application with admin credentials | You will come to home page of web application | 1
[11 empty] | Go to Insurees under Insurees and Policies | A page opens with multiple search criterias to display searches of an individual on | 1
[11 empty] | Enter an indiviudals ID under Insurance Number field and and click search | Message is given 1 Insuree was foundt and this insuree is listed below | 1
[11 empty] | Click on ID number of this listed individual | The family page of this individual opens up where the individual in the list of family members is highlighted | 1
[11 empty] | To add a new member Select the plus sign next to Insurees | Page opens to add a new individuals data | 1
[11 empty] | Enter the data for the individual and click on Save | You return to the family overview page and get a message that Individual with respective number was added | 1
[11 empty] | If additional payments have to be added to the family then single click to select the policy against which the payment is to be made and then select the plus sign next to Contributions | Screen shows where payment details can be added | 1
[11 empty] | Enter all information against a payment that was made either partially or fully against the Policy Vallue and click Save | Contribution Category Contributions will include by default total policy value in the field Contribution Paid with Balance calculated as 0. | 1
[11 empty] | Select OK to the message that Contribution matches the price of policy. | You return to Family Overview page with a message that Contirbution was added successfully. A family is now fully enrolled through the web application and policy status changed to Active | 1
|  | 152 | Renewal |  |  | 1 | 1 | 2 |  |  | Login to web application with admin credentials | You will come to home page of web application | 1
[11 empty] | Go to Insurees under Insurees and Policies | A page opens with multiple search criterias to display searches of an individual on | 1
[11 empty] | Enter an indiviudals ID under Insurance Number field and and click search | Message is given 1 Insuree was foundt and this insuree is listed below | 1
[11 empty] | Click on ID number of this listed individual | The family page of this individual opens up where the individual in the list of family members is highlighted | 1
[11 empty] | To renew a policy, under the policy section, click the "recycle" icon on the right side of the policy you want to renew. | The page where you enter details of policy will open | 1
[11 empty] | Enter all the fields (with asterix) and Click Save | The policy was successfully renewed | 1
[11 empty] | To go back to the family overview page, click on the arrow at the top left of the page. | You are taken back to the family overview page
[11 empty] | Enter a payment against the policy by clicking on the plus next to Contributions | Page opens to capture details of payment made | 1
[11 empty] | Enter all information against a payment that was made either partially or fully against the Policy Vallue and click Save | Contribution Category Contributions will include by default total policy value in the field Contribution Paid with Balance calculated as 0. | 1
[11 empty] | Select OK to the message that Contribution matches the price of policy. | You return to Family Overview page with a message that Contirbution was added successfully. A family is now fully enrolled through the web application and policy status changed to Active | 1
Web Application | Web application test
Administration
Payer
|  |  | Add a payer |  | The payer is not in the system yet. | [5 empty] | Login to web application with admin credentials | You will come to home page of web application
[11 empty] | Go to payers under administration | A page opens with search criterias to display searches of a payer (payers overview page).
[11 empty] | Click add at the bottom left of the screen | A page opens with criterias to enter for a payer
[11 empty] | Enter all information in the mandatory tabs (in red) and click save at the bottom left of the screen. | You are taken back to the payer overview page and the new payer is now visible. At the bottom of the page a message appears saying that the payer has been addedd successfully.
|  |  | Delete a payer |  | The payer is entered and the user is on the payer overview page. | [5 empty] | Click on the payer that you want to delete but not on the underlined name of the payer as this will take you to edit mode (anywhere else on the tab). | The tab of the desired payer will now appear blue.
[11 empty] | At the bottom of the screen, click on delete. | A pop-up message appears: are you sure you want to delete?
[11 empty] | Click on yes | The payer disapears and a message is shown at the bottom of the screen saying that the payer has been deleted successfully.
|  |  | Modify a payer |  | The payer is entered and the user is on the payer overview page. | [5 empty] | Click on the payer that you want to modify either directly on the underlined name of the payer or anywhere else to select it and then click edit. | You are taken to page of this payer.
[11 empty] | You can now make the changes that you want in the different fields and then click save. | You are taken back to the payer overview page. A message appears at the ottom of the page saying that the payer has successfully been updated.
Web Application | Web application test
Administration
Claims Administrators
|  |  | Add a claims administrator |  | The claims administrator is not in the system yet. The health facility where the claim administrator works is already entered in the system. | [5 empty] | Login to web application with admin credentials | You will come to home page of web application
[11 empty] | Go to claims administrators under administration | A page opens with search criterias to display searches of a claim administrator (claim administrator overview page).
[11 empty] | Click add at the bottom left of the page | A page opens with criterias to add for a claims administrator.
[11 empty] | Enter all information in the mandatory tabs (in red) and click save at the bottom left of the page. | You are taken back to the claims administrator overview page. A message at the bottom of the screen appears indicating that the administrator has been successfully added.
|  |  | Delete a claims administrator |  | The claims administrator is entered in the system. The user is on the claims administrator overview page. | [5 empty] | Click on the claims administrator that you want to delete without clicking on the underlined code. | The tab of the desired claims administrator will now appear blue.
[11 empty] | Click delete at the bottom of the page. | A pop-up message appears: are you sure you want to delete?
[11 empty] | Click yes | The claims administrator has disapeared from the overview page and a message at the bottom of the page says that the administrator has successfully been deleted.
|  |  | Modify a claims administrator |  | The claims administrator is entered and the user is on the claims administrators overview page. | [5 empty] | Click on the claims administrator that you want to modify either directly on the underlined code of the claims administrator or anywhere else to select it and then click edit. | You are taken to page of this claims administrator.
[11 empty] | You can now make the changes that you want in the different fields and then click save. | You are taken back to the claims administrator overview page. A message appears at the bottom of the page saying that the claims administrator has successfully been updated.
Web Application | Web application test
Administration
Enrollment officer
|  |  | Add an enrollment officer |  | The enrollment officer is not in the system yet. The location where the the enrollment officer works is already entered in the system. | [5 empty] | Login to web application with admin credentials | You will come to home page of web application
[11 empty] | Go to enrollment officers under administration | A page opens with search criterias to display searches of an enrollment officer (enrollment officer overview page).
[11 empty] | Click add at the bottom left of the page | A page opens with criterias to add for an enrollment officer.
[11 empty] | Enter all information in the mandatory tabs (in red) and click save at the bottom left of the page. | You are taken back to the enrollment officer overview page. A message at the bottom of the screen appears indicating that the officer has been successfully added.
|  |  | Delete an enrollment officer |  | The enrollment officer is entered in the system. The user is on the enrollment officer overview page. | [5 empty] | Click on the enrollment officer that you want to delete without clicking on the underlined code. | The tab of the desired enrollment officer will now appear blue.
[11 empty] | Click delete at the bottom of the page. | A pop-up message appears: are you sure you want to delete?
[11 empty] | Click yes | The enrollment officer has disapeared from the overview page and a message at the bottom of the page says that the officer has successfully been deleted.
|  |  | Modify an enrollment officer |  | The enrollment officer is entered and the user is on the claims administrators overview page. | [5 empty] | Click on the enrollment officer that you want to modify either directly on the underlined code of the enrollment officer or anywhere else to select it and then click edit. | You are taken to page of this enrollment officer.
[11 empty] | You can now make the changes that you want in the different fields and then click save. | You are taken back to the enrollment officer overview page. A message appears at the bottom of the page saying that the enrollment officer has successfully been updated.
Web Application | Web application test
Administration
Users Profile
|  |  | Add a user profile |  | The user profile is not yet entered in the system. | [5 empty] | Login to web application with admin credentials | You will come to home page of web application
[11 empty] | Go to users profiles under administration | A page opens with search criterias to display searches of a user profile. All user profiles are listed below.
[11 empty] | Click add at the bottom left of the page. | A page opens with four columns of roles and assigned tasks (each with tick boxes to the left). There is also a tab to insert the name of the new user profile and alternative language at the top of the page.
[11 empty] | Tick the boxes of the roles you want the new user profile to have access to, add a name for the new profile and click save. | You are taken back to the users profiles overview page and the new user now appears in the list.
|  |  | Delete a user profile |  | The user profile is entered in the system. The user is on the users profiles overview page. | [5 empty] | Click on the user profile that you want to delete without clicking on the underlined user name. | The tab of the desired user profile will now appear blue.
[11 empty] | Click delete at the bottom of the page. | A pop-up message appears: are you sure you want to delete?
[11 empty] | Click yes | The user profile has disapeared from the overview page and a message at the bottom of the page says that the profile has successfully been deleted.
|  |  | Duplicate a user profile |  | The user profiles to be duplicated is entered in the system. The user is on te users profiles overview plage. | [5 empty] | Click on the user profile that you want to duplicate without clicking on the underlined user name. | The tab of the desired user profile will now appear blue.
[11 empty] | Click duplicate at the bottom of the page. | A page opens with four columns of roles and assigned tasks (each with tick boxes to the left). The boxes are already ticked as per the user profile that you are duplicating. The sections to insert the name of the new user profile and alternative language at the top of the page are empty.
[11 empty] | Enter the name of the new users profile and click save. | You are taken back to the users profiles overview page and the new user now appears in the list.
|  |  | Modify a user profile |  | The user profile is entered and the user is on the user profile overview page. | [5 empty] | Click on the user profile that you want to modify either directly on the underlined name of the user profile or anywhere else to select it and then click edit. | You are taken to page of this user profile.
[11 empty] | You can now make the changes that you want in the two top fields or by changing the ticked boxes and then click save. | You are taken back to the user profile overview page. A message appears at the bottom of the page saying that the user profile has successfully been updated.
Web Application | Web application test
Administration
Users
|  |  | Add a user |  | The user is not in the system yet. The assigned user profile for the new user and health facility is already in the system. | [5 empty] | Login to web application with admin credentials | You will come to home page of web application
[11 empty] | Go to users under administration | A page opens with search criterias to display searches of a user (users overview page).
[11 empty] | Click add at the bottom left of the page | A page opens with criterias to add for a user.
[11 empty] | Enter all information in the mandatory tabs (in red), tick the box for the chosen user profile, and the relevant locations. Then click save at the bottom left of the page. | You are taken back to the users overview page. The new user now appears in the list and a message at the bottom of the screen appears indicating that the officer has been successfully added.
|  |  | Delete a user |  | The user is entered in the system. The user is on the users overview page. | [5 empty] | Click on the user that you want to delete without clicking on the underlined user name. | The tab of the desired user will now appear blue.
[11 empty] | Click delete at the bottom of the page. | A pop-up message appears: are you sure you want to delete?
[11 empty] | Click yes | The user has disapeared from the overview page and a message at the bottom of the page says that the user has successfully been deleted.
|  |  | Modify a user |  | The user is entered and the user is on the user overview page. | [5 empty] | Click on the user that you want to modify either directly on the underlined name of the user or anywhere else to select it and then click edit. | You are taken to page of this user.
[11 empty] | You can now make the changes that you want in the fields and then click save. | You are taken back to the user overview page. A message appears at the bottom of the page saying that the user has successfully been updated.
Web Application | Web application test
Administration
Medical Items
|  |  | Add a medical item |  | The item is not in the system yet. | [5 empty] | Login to web application with admin credentials | You will come to home page of web application
[11 empty] | Go to medical items under administration | A page opens with search criterias to display searches of a medical item and a list of all medical items below. (medical items overview page).
[11 empty] | Click add at the bottom left of the page | A page opens with criterias to add for a medical item.
[11 empty] | Enter all information in the mandatory tabs (in red) and tick the circles for type and care type. Then click save at the bottom left of the page. | You are taken back to the medical items overview page. The new item now appears in the list and a message at the bottom of the screen appears indicating that the item has been successfully added.
|  |  | Delete a medical item |  | The medical item is entered in the system. The user is on the medical items overview page. | [5 empty] | Click on the medical item that you want to delete without clicking on the underlined code. | The tab of the desired medical item will now appear blue.
[11 empty] | Click delete at the bottom of the page. | A pop-up message appears: are you sure you want to delete?
[11 empty] | Click yes | The medical item has disapeared from the overview page and a message at the bottom of the page says that the item has successfully been deleted.
|  |  | Modify a medical item |  | The medical item is entered and the user is on the medical items overview page. | [5 empty] | Click on the medical item that you want to modify either directly on the underlined code of the medical item or anywhere else to select it and then click edit. | You are taken to page of this medical item.
[11 empty] | You can now make the changes that you want in the fields and then click save. | You are taken back to the medical item overview page. A message appears at the bottom of the page saying that the medical item has successfully been updated.
Web Application | Web application test
Administration
Medical Services
|  |  | Add a medical service |  | The service is not in the system yet. | [5 empty] | Login to web application with admin credentials | You will come to home page of web application
[11 empty] | Go to medical services under administration | A page opens with search criterias to display searches of a medical services and a list of all medical services below. (medical services overview page).
[11 empty] | Click add at the bottom left of the page | A page opens with criterias to add for a medical services.
[11 empty] | Enter all information in the mandatory tabs (in red) and tick the circles for type and care type. Then click save at the bottom left of the page. | You are taken back to the medical services overview page. The new service now appears in the list and a message at the bottom of the screen appears indicating that the service has been successfully added.
|  |  | Delete a medical service |  | The medical service is entered in the system. The user is on the medical service overview page. | [5 empty] | Click on the medical service that you want to delete without clicking on the underlined code. | The tab of the desired medical service will now appear blue.
[11 empty] | Click delete at the bottom of the page. | A pop-up message appears: are you sure you want to delete?
[11 empty] | Click yes | The medical service has disapeared from the overview page and a message at the bottom of the page says that the service has successfully been deleted.
|  |  | Modify a medical service |  | The medical service is entered and the user is on the medical service overview page. | [5 empty] | Click on the medical service that you want to modify either directly on the underlined code of the medical service or anywhere else to select it and then click edit. | You are taken to page of this medical service.
[11 empty] | You can now make the changes that you want in the fields and then click save. | You are taken back to the medical service overview page. A message appears at the bottom of the page saying that the medical service has successfully been updated.
Web Application | Web application test
Administration
Medical Items Price Lists
|  |  | Add a medical items price list |  | The list is not in the system yet. Location for that list has already been entered in the system. | [5 empty] | Login to web application with admin credentials | You will come to home page of web application
[11 empty] | Go to medical items price lists under administration | A page opens with search criterias to display searches of a medical items price list and a list of all medical items price lists below. (medical items price lists overview page).
[11 empty] | Click add at the bottom left of the page | A page opens with criterias to add for a medical items price list and to the right, a list of all medical items with check boxes.
[11 empty] | Enter all information in the mandatory tabs (in red) and tick the boxes for items you want to include in the price list. Then click save at the bottom left of the page. | You are taken back to the medical items price lists overview page. The new price list now appears in the list and a message at the bottom of the screen appears indicating that the item list has been successfully added.
|  |  | Delete a medical items price list |  | The medical items price list is entered in the system. The user is on the medical items price list overview page. | [5 empty] | Click on the medical items price list that you want to delete without clicking on the underlined name. | The tab of the desired medical items price list will now appear blue.
[11 empty] | Click delete at the bottom of the page. | A pop-up message appears: are you sure you want to delete?
[11 empty] | Click yes | The medical items price list has disapeared from the overview page and a message at the bottom of the page says that the list has successfully been deleted.
|  |  | Duplicate a medical items price list |  | The medical items price list to be duplicated is entered in the system. The user is on the medical items price list overview page. | [5 empty] | Click on the medical items price list that you want to duplicate without clicking on the underlined list name. | The tab of the desired medical items price list will now appear blue.
[11 empty] | Click duplicate at the bottom of the page. | A page opens with criterias for a medical items price list and to the right, a list of all medical items with check boxes. The medical items are autmoatically checked as per the duplicated medical items list.
[11 empty] | Add a new name for the medical items price list and if wanted, change the date or region. Then click save. | You are taken back to the medica items price list overview page and the new medical items price list now appears in the list. A message appears saying that the list has been addedd successfully.
|  |  | Modify a medical items price list |  | The medical items price list is entered and the user is on the medical items price list overview page. | [5 empty] | Click on the medical items service list that you want to modify either directly on the underlined name of the medical items price list or anywhere else to select it and then click edit. | You are taken to page of this medical items list.
[11 empty] | You can now make the changes that you want in the fields and in the tick boxes and then click save. | You are taken back to the medical items price list overview page. A message appears at the bottom of the page saying that the medical items price list has successfully been updated.
Web Application | Web application test
Administration
Medical Services Price Lists
|  |  | Add a medical services price list |  | The list is not in the system yet. Location for that list has already been entered in the system. | [5 empty] | Login to web application with admin credentials | You will come to home page of web application
[11 empty] | Go to medical services price lists under administration | A page opens with search criterias to display searches of a medical services price list and a list of all medical services price lists below. (medical sevices price lists overview page).
[11 empty] | Click add at the bottom left of the page | A page opens with criterias to add for a medical services price list and to the right, a list of all medical items with check boxes.
[11 empty] | Enter all information in the mandatory tabs (in red) and tick the boxes for services you want to include in the price list. Then click save at the bottom left of the page. | You are taken back to the medical services price lists overview page. The new price list now appears in the list and a message at the bottom of the screen appears indicating that the services list has been successfully added.
|  |  | Delete a medical services price list |  | The medical services price list is entered in the system. The user is on the medical services price list overview page. | [5 empty] | Click on the medical services price list that you want to delete without clicking on the underlined name. | The tab of the desired medical services price list will now appear blue.
[11 empty] | Click delete at the bottom of the page. | A pop-up message appears: are you sure you want to delete?
[11 empty] | Click yes | The medical services price list has disapeared from the overview page and a message at the bottom of the page says that the list has successfully been deleted.
|  |  | Duplicate a medical services price list |  | The medical services price list to be duplicated is entered in the system. The user is on the medical services price list overview page. | [5 empty] | Click on the medical services price list that you want to duplicate without clicking on the underlined list name. | The tab of the desired medical services price list will now appear blue.
[11 empty] | Click duplicate at the bottom of the page. | A page opens with criterias for a medical services price list and to the right, a list of all medical services with check boxes. The medical services are autmoatically checked as per the duplicated medical services list.
[11 empty] | Add a new name for the medical services price list and if wanted, change the date or region. Then click save. | You are taken back to the medical services price list overview page and the new medical services price list now appears in the list. A message appears saying that the list has been addedd successfully.
|  |  | Modify a medical services price list |  | The medical services price list is entered and the user is on the medical services price list overview page. | [5 empty] | Click on the medical services price list that you want to modify either directly on the underlined name of the medical services price list or anywhere else to select it and then click edit. | You are taken to page of this medical services list.
[11 empty] | You can now make the changes that you want in the fields and in the tick boxes and then click save. | You are taken back to the medical services price list overview page. A message appears at the bottom of the page saying that the medical services price list has successfully been updated.
Web Application | Web application test
Administration
Products
|  |  | Add a product |  | The product is not in the system yet. The locations for the product are entered in the system. | [5 empty] | Login to web application with admin credentials | You will come to home page of web application
[11 empty] | Go to products under administration | A page opens with search criterias to display searches of a products and a list of all existing products below. (products overview page).
[11 empty] | Click add at the bottom left of the page | A page opens with criterias to add for a product. To the right, there are two boxes for medical services and items.
[11 empty] | Click on load medical items and medical services in the two boxes to the right of the page. | A list of all medical items and medical services appear in the two assigned boxes to the right of the page.
[11 empty] | Enter all information in the mandatory tabs (in red) and tick the boxes of the medical items and services that should be included in the product. Then click save at the bottom left of the page. | You are taken back to the products overview page. The new product now appears in the list and a message at the bottom of the screen appears indicating that the product has been successfully added.
|  |  | Delete a product |  | The medical service is entered in the system. The user is on the medical service overview page. | [5 empty] | Click on the product that you want to delete without clicking on the underlined code. | The tab of the desired product will now appear blue.
[11 empty] | Click delete at the bottom of the page. | A pop-up message appears: are you sure you want to delete?
[11 empty] | Click yes | The product has disapeared from the overview page and a message at the bottom of the page says that the product has successfully been deleted.
|  |  | Duplicate a product |  | The product to be duplicated is entered in the system. The user is on the product overview page. | [5 empty] | Click on the product that you want to duplicate without clicking on the underlined code. | The tab of the desired product will now appear blue.
Click duplicate at the bottom of the page.
|  |  | Modify a product |  | The product is entered and the user is on the product overview page. | [5 empty] | Click on the product that you want to modify either directly on the underlined code of the product or anywhere else to select it and then click edit. | You are taken to page of this product.
[11 empty] | You can now make the changes that you want in the fields and then click save. | You are taken back to the product overview page. A message appears at the bottom of the page saying that the product has successfully been updated.
Web Application | Web application test
Profile
Password
|  |  | Change password | [7 empty] | Login to web application with admin credentials | You will come to home page of web application
[11 empty] | Go to change password under profile | A page opens with fields to add current password, new password and confirm password.
[11 empty] | Enter the current and new password in the fields. | A message will appear saying that the password has successfully been updated.
Web Application | Web application test
Tools
Reports
|  |  | Generate primary operationals indicators-policies report | [7 empty] | Login to web application with admin credentials | You will come to home page of web application
[11 empty] | Go to reports under tools | A page opens with a list of all possible reports and some fields at the top of the page to fill in.
[11 empty] | Primary operationals indicators-policies is already selected in blue. Fill in the fields month, quarter, year, region, district and product. Then click preview at the bottom of the page. | The report is generated and is shown on the screen.
|  |  | Generate primary operationals indicators-claims report |  | The user is on the reports page. | [5 empty] | Select primary operationals indicators-claims. | The fields and tabs at the top of the screen change to month, quarter, year, region, district, product, HF code.
[11 empty] | Fill in all the information and click preview at the bottom of the page. | The report is generated and is shown on the screen.
|  |  | Generate derived operational indicators report |  | The user is on the reports page. | [5 empty] | Select derived operational indicators | The fields and tabs at the top of the screen change to month, year, region, district, product, HF code.
[11 empty] | Fill in all the information and click preview at the bottom of the page. | The report is generated and is shown on the screen.
|  |  | Generate contribution collection report |  | The user is on the reports page. | [5 empty] | Select contribution collection | The fields and tabs at the top of the screen change to date from, date to, region, district, product, payment type.
[11 empty] | Fill in all the information and click preview at the bottom of the page. | The report is generated and is shown on the screen.
|  |  | Generate product sales report |  | The user is on the reports page. | [5 empty] | Select product sales | The fields and tabs at the top of the screen change to date from, date to, region, district, product.
[11 empty] | Fill in all the information and click preview at the bottom of the page. | The report is generated and is shown on the screen.
|  |  | Generate contribution distribution report |  | The user is on the reports page. | [5 empty] | Select contribution distribution | The fields and tabs at the top of the screen change to month, year, region, district, product.
[11 empty] | Fill in all the information and click preview at the bottom of the page. | The report is generated and is shown on the screen.
|  |  | Generate user activity report |  | The user is on the reports page. | [5 empty] | Select user activity | The fields and tabs at the top of the screen change to date from, date to, user name, action, entity.
[11 empty] | Fill in all the information and click preview at the bottom of the page. | The report is generated and is shown on the screen.
|  |  | Generate enrolment performance indicators report |  | The user is on the reports page. | [5 empty] | Select enrolment performance indicators | The fields and tabs at the top of the screen change to month, quarter, year, region, district, product.
[11 empty] | Fill in all the information and click preview at the bottom of the page. | The report is generated and is shown on the screen.
|  |  | Generate status of registers report |  | The user is on the reports page. | [5 empty] | Select status of registors | The fields and tabs at the top of the screen change to region and district.
[11 empty] | Fill in all the information and click preview at the bottom of the page. | The report is generated and is shown on the screen.
|  |  | Generate insurees without photos report |  | The user is on the reports page. | [5 empty] | Select insurees without photos | The fields and tabs at the top of the screen change to region, district and enrollement officer.
[11 empty] | Fill in all the information and click preview at the bottom of the page. | The report is generated and is shown on the screen.
|  |  | Generate payment category overview report |  | The user is on the reports page. | [5 empty] | Select payment category overview | The fields and tabs at the top of the screen change to date from, date to, region, district and product.
[11 empty] | Fill in all the information and click preview at the bottom of the page. | The report is generated and is shown on the screen.
|  |  | Generate payment matching funds report |  | The user is on the reports page. | [5 empty] | Select matching funds | The fields and tabs at the top of the screen change to date from, date to, region, district, product, payer and previous.
[11 empty] | Fill in all the information and click preview at the bottom of the page. | The report is generated and is shown on the screen.
|  |  | Generate claims overview report |  | The user is on the reports page. | [5 empty] | Select claim overview | The fields and tabs at the top of the screen change to date from, date to, region, district, product, HF code, scope, claim status.
[11 empty] | Fill in all the information and click preview at the bottom of the page. | The report is generated and is shown on the screen.
|  |  | Generate percentage of referrals report |  | The user is on the reports page. | [5 empty] | Select percentage of referrals | The fields and tabs at the top of the screen change to date from, date to, region, district.
[11 empty] | Fill in all the information and click preview at the bottom of the page. | The report is generated and is shown on the screen.
|  |  | Generate families and insurees overview report |  | The user is on the reports page. | [5 empty] | Select families and insurees overview | The fields and tabs at the top of the screen change to date from, date to, region, district, municipality, village and status.
[11 empty] | Fill in all the information and click preview at the bottom of the page. | The report is generated and is shown on the screen.
|  |  | Generate pending insurees report |  | The user is on the reports page. | [5 empty] | Select pending insurees | The fields and tabs at the top of the screen change to date from, date to, region, district and enrollment officer
[11 empty] | Fill in all the information and click preview at the bottom of the page. | The report is generated and is shown on the screen.
|  |  | Generate renewals report |  | The user is on the reports page. | [5 empty] | Select renewals | The fields and tabs at the top of the screen change to date from, date to, region, district, product, enrollment officer and sorting.
[11 empty] | Fill in all the information and click preview at the bottom of the page. | The report is generated and is shown on the screen.
|  |  | Generate capitation payment report |  | The user is on the reports page. | [5 empty] | Select capitation payments | The fields and tabs at the top of the screen change to date from, date to, region, district, product.
[11 empty] | Fill in all the information and click preview at the bottom of the page. | The report is generated and is shown on the screen.
|  |  | Generate rejected photos report |  | The user is on the reports page. | [5 empty] | Select rejected photos | The fields and tabs at the top of the screen change to date from, date to.
[11 empty] | Fill in all the information and click preview at the bottom of the page. | The report is generated and is shown on the screen.
|  |  | Generate contribution payment report |  | The user is on the reports page. | [5 empty] | Select contribution payments | The fields and tabs at the top of the screen change to date from, date to, region, district, product, control number, payment status.
[11 empty] | Fill in all the information and click preview at the bottom of the page. | The report is generated and is shown on the screen.
|  |  | Generate control number assignment report |  | The user is on the reports page. | [5 empty] | Select control number assignment | The fields and tabs at the top of the screen change to date from, date to, region, district, posting status, assignment status.
[11 empty] | Fill in all the information and click preview at the bottom of the page. | The report is generated and is shown on the screen.
|  |  | Generate overview of commissions report |  | The user is on the reports page. | [5 empty] | Select overview of commissions | The fields and tabs at the top of the screen change to month, year, region, district, product, payer, enrollment officer, mode, commission rate, scope.
[11 empty] | Fill in all the information and click preview at the bottom of the page. | The report is generated and is shown on the screen.
|  |  | Generate claim history report |  | The user is on the reports page. | [5 empty] | Select claims history report | The fields and tabs at the top of the screen change to date from, date to, region, district, product, HF code, scope, claims status, insurance number.
[11 empty] | Fill in all the information and click preview at the bottom of the page. | The report is generated and is shown on the screen.
Web Application | Web application test
Tools
Email settings
|  |  | Save email | [7 empty] | Login to web application with admin credentials | You will come to home page of web application
[11 empty] | Go to email settings under tools | A page opens up with fields to fill in for email: email, password, SMTP host, port, and enable SSL
Fill in all information in the fields and click save
Web Application | Web application test
Tools
Funding
|  |  | Add funding | [7 empty] | Login to web application with admin credentials | You will come to home page of web application
[11 empty] | Go to funding under tools | A page opens up with fields to fill in for funding
Fill in the mandatory information in the fields and click save
Web Application | Web application test
Tools
Resigsters
|  |  | Download diagnoses | [7 empty] | Login to web application with admin credentials | You will come to home page of web application
[11 empty] | Go to registers under tools | A page opens up with fields for diagnoses, locations and health facilities
[11 empty] | Click on dowload under diagnoses | The file with the list of diagnoses now appears in your dowloads
|  |  | Download locations | [7 empty] | Login to web application with admin credentials | You will come to home page of web application
[11 empty] | Go to registers under tools | A page opens up with fields for diagnoses, locations and health facilities
[11 empty] | Click on dowload under locations | The file with the list of locations now appears in your dowloads
|  |  | Download health facilities | [7 empty] | Login to web application with admin credentials | You will come to home page of web application
[11 empty] | Go to registers under tools | A page opens up with fields for diagnoses, locations and health facilities
[11 empty] | Click on dowload under health facilities | The file with the list of health facilities now appears in your dowloads
|  |  | Add diagnoses | [7 empty] | Login to web application with admin credentials | You will come to home page of web application
[11 empty] | Go to registers under tools | A page opens up with fields for diagnoses, locations and health facilities
[11 empty] | Click on browse under diagnoses and choose a file to upload. Choose a strategy and click upload. | A pop-up message appears: are you sure you want to upload a new list of diagnoses?
[11 empty] | Click yes | A box appears with a summary of uploaded diagnoses (sent, inserted, updated, deleted)
[11 empty] | Click ok | The box disappears
|  |  | Add locations |  | The user is already on the registers overview page | [5 empty] | Click on browse under locations and choose a file to upload. Choose a strategy and click upload. | A pop-up message appears: are you sure you want to upload a new list of locations?
[11 empty] | Click yes | A box appears with a summary of uploaded locations (sent, inserted, updated, deleted)
[11 empty] | Click ok | The box disappears
|  |  | Add health facilities |  | The user is already on the registers overview page | [5 empty] | Click on browse under health facilities and choose a file to upload. Choose a strategy and click upload. | A pop-up message appears: are you sure you want to upload a new list of health facilities?
[11 empty] | Click yes | A box appears with a summary of uploaded health facilities (sent, inserted, updated, deleted)
[11 empty] | Click ok | The box disappears
Import Test Cases From TestLink
Export Test Cases To TestLink
Note on K1: Attachments are placed in folders on the File System : - TestSuite Attachments in folder "TestSuites" - TestCase Attachments in folder "TestCases" Ctrl + j to add an attachment to a TestSuite or TestCase
Note on G2: 1 : Draft (Default in not filled) 2 : Ready For Review 3 : Review In Progress 4 : Rework 5 : Obsolete 6 : Future 7 : Final
Note on H2: 1 : Manual (default if not filled) 2 : Automatic
Note on I2: 1 : Low 2 : Medium (default if not filled) 3 : High
Note on J2: If more than 1 Keyword, use semi-comma ';'
Note on K2: Automatically updated during Import Automatically updated from target directory when an attachment is added Provided for information. Event if no number is present, Export will check if there are attachments on File System and will encode it in XML file
Note on P2: 1 : Manual (default if not filled) 2 : Automatic
Note on R2: If more than 1 Document ID, use semi-comma ';'

## Req Coverage
Requirements List | Requirements without duplicates | Occurrences